## Sheet1
Material # | MODEL NUMBER | DESCRIPTION | Commercial List Price
EXCEDER LED LOW FREQUENCY STROBES AND SOUNDERS
Meet NFPA 72 for Fire Alarm and NFPA 720 for CO
DUAL APPLICATION IN 1 DEVICE - T3 (Fire) and T4 (CO) tones
Multiple 520 Hz modes of operation
ENERGY EFFICIENT, LOW-PROFILE DESIGN
110 or 177 Candela setting (dependent on model)
| Trim plate (LFTP) for single-gang backbox included in all LFHNK3/LFHSK3/LFHSH3 models. | pp
The LFTP trim plate allows for ease of installation for retrofit projects that have single-gang
backboxes installed.
CN126219 | LFHNKR3 | LF HN,KIT,RED,2W,WALL,24V,FIRE | 80.5975
CN126280 | LFHNKR3-AL | LF HN,KIT,RED,2W,WALL,24V,ALERT | 80.5975
CN126281 | LFHNKR3-CO | LF HN,KIT,RED,2W,WALL,24V,CO | 80.5975
CN126231 | LFHNKR3-N | LF HN,KIT,RED,2W,WALL,24V,NO LTR | 80.5975
CN126220 | LFHNKW3 | LF HN,KIT,WHT,2W,WALL,24V,FIRE | 80.5975
CN126282 | LFHNKW3-AL | LF HN,KIT,WHT,2W,WALL,24V,ALERT | 80.5975
CN126283 | LFHNKW3-CO | LF HN,KIT,WHT,2W,WALL,24V,CO | 80.5975
CN126233 | LFHNKW3-N | LF HN,KIT,WHT,2W,WALL,24V,NO LTR | 80.5975
CN126271 | LFHSKR3 | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,110CD,FIRE | 138.6689
CN126284 | LFHSKR3-AL | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,110CD,ALERT | 138.6689
CN126285 | LFHSKR3-CO | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,110CD,CO | 138.6689
CN126272 | LFHSKR3-N | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,110CD,NO LTR | 138.6689
CN126274 | LFHSKW3 | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,110CD,FIRE | 138.6689
CN126286 | LFHSKW3-AL | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,110CD,ALERT | 138.6689
CN126287 | LFHSKW3-CO | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,110CD,CO | 138.6689
CN126275 | LFHSKW3-N | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,110CD,NO LTR | 138.6689
CN126563 | LFHSHR3 | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,177CD,FIRE | 150.6066
CN126564 | LFHSHR3-N | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,177CD,NO LTR | 150.6066
CN126567 | LFHSHR3-AL | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,177CD,ALERT | 150.6066
CN126568 | LFHSHR3-CO | LED LF HN STR,TRM PLT,RED,2W,WALL,24V,177CD,CO | 150.6066
CN126565 | LFHSHW3 | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,177CD,FIRE | 150.6066
CN126566 | LFHSHW3-N | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,177CD,NO LTR | 150.6066
CN126569 | LFHSHW3-AL | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,177CD,ALERT | 150.6066
CN126570 | LFHSHW3-CO | LED LF HN STR,TRM PLT,WHT,2W,WALL,24V,177CD,CO | 150.6066
EXCEDER LED WALL HORNS AND HORN STROBES
ENERGY EFFICIENT, LOW-PROFILE DESIGN
4 SELECTABLE SETTINGS IN ONE DEVICE - 15, 30, 75, 110 cd
2 AUDIBLE SETTINGS - 90, 95 Db
EXCEDER LED HORNS - WALL
CN126235 | LHNR3 | LED HN,RED,2W,WALL,12/24V | 35.2537
CN126236 | LHNW3 | LED HN,WHITE,2W,WALL,12/24V | 35.2537
EXCEDER LED HORN STROBE - WALL
CN126241 | LHSR3 | LED HN STR,RED,2W,WALL,12/24V | 80.1298
CN126242 | LHSW3 | LED HN STR,WHITE,2W,WALL,12/24V | 80.1298
EXCEDER LED HORN STROBE - WALL - NO LETTERING & SPECIAL LETTERING
CN126288 | LHSR3-A | LED HN STR,RED,2W,WALL,24V,AGENT | 86.771
CN126370 | LHSR3-AL | LED HN STR,RED,2W,WALL,24V,ALERT | 86.771
CN126243 | LHSR3-N | LED HN STR,RED,2W,WALL,24V,NO LTR | 86.771
CN126371 | LHSW3-A | LED HN STR,WHT,2W,WALL,24V,AGENT | 86.771
CN126375 | LHSW3-AL | LED HN STR,WHT,2W,WALL,24V,ALERT | 86.771
CN126244 | LHSW3-N | LED HN STR,WHT,2W,WALL,24V,NO LTR | 86.771
EXCEDER LED CEILING HORNS AND HORN STROBES
CN126238 | LHNRC3 | LED HN,RED,2W,CEILING,12/24V,NO LTR | 37.5744
CN126240 | LHNWC3 | LED HN,WHITE,2W,CEILING,12/24V,NO LTR | 37.5744
CN126245 | LHSRC3 | LED HN STR,RED,2W,CEILING,24V,15/30/75/95CD,FIRE | 81.1434
CN126246 | LHSWC3 | LED HN STR,WHITE,2W,CEILING,24V,15/30/75/95CD,FIRE | 81.1434
EXCEDER WALL AND CEILING HORNS & HORN STROBES - Technical Data TD450049EN
3 AUDIBLE SETTINGS
8 CANDELA OPTIONS ON ONE DEVICE
5 MOUNITNG OPTIONS
COMMON BASE FOR WALL & CEILING WITH SNAP MOUNT
EXCEDER HORNS - WALL
CN126292 | HNR | HN,RED,2W,WALL,12/24V | 37.7796
CN126356 | HNW | HN,WHITE,2W,WALL,12/24V | 37.7796
EXCEDER HORNS - CEILING
CN128967 | HNRC | HN,RED,2W,CEILING,12/24V | 36.7398
CN128972 | HNWC | HN,WHITE,2W,CEILING,12/24V | 36.7398
EXCEDER HORN STROBE - WALL
CN127249 | HSR | HN STR,RED,2W,WALL,12/24V,8CD | 80.9488
CN127252 | HSW | HN STR,WHT,2W,WALL,12/24V,8CD | 80.9488
EXCEDER HORN STROBE - WALL - NO LETTERING & SPECIAL LETTERING
CN123330 | HSR-A | HN STR,RED,2W,WALL,12/24V,8CD,AGENT | 84.389
CN123332 | HSR-AL | HN STR,RED,2W,WALL,12/24V,8CD,ALERT | 84.389
CN127265 | HSR-N | HN STR,RED,2W,WALL,12/24V,8CD,NO LTR | 89.8743
CN123331 | HSW-A | HN STR,WHT,2W,WALL,12/24V,8CD,AGENT | 84.389
CN123333 | HSW-AL | HN STR,WHT,2W,WALL,12/24V,8CD,ALERT | 84.389
CN127329 | HSW-N | HN STR,WHT,2W,WALL,12/24V,8CD,NO LTR | 89.8743
EXCEDER HORN STROBE - CEILING
CN127459 | HSRC | HN STR,RED,2W,CEILING,12/24V,8CD | 84.4319
CN127464 | HSWC | HN STR,WHT,2W,CEILING,12/24V,8CD | 84.4319
EXCEDER HORN STROBE - CEILING - NO LETTERING & SPECIAL LETTERING
CN123342 | HSRC-A | HN STR,RED,2W,CEILING,12/24V,8CD,AGENT | 84.9249
CN123344 | HSRC-AL | HN STR,RED,2W,CEILING,12/24V,8CD,ALERT | 84.9249
CN127961 | HSRC-N | HN STR,RED,2W,CEILING,12/24V,8CD,NO LTR | 84.9249
CN123343 | HSWC-A | HN STR,WHT,2W,CEILING,12/24V,8CD,AGENT | 84.9249
CN123345 | HSWC-AL | HN STR,WHT,2W,CEILING,12/24V,8CD,ALERT | 84.9249
CN127967 | HSWC-N | HN STR,WHT,2W,CEILING,12/24V,8CD,NO LTR | 84.9249
SERIES HS/HS4 WALL & CEILING HORNS & HORN STROBES - Technical Data TD450042EN
ISOLATED 4-WIRE HORN STROBE
SELECTABLE CONTINUOUS HORN or CODE 3
3 dB levels
CN123152 | HS-24-R | HN,4 WIRE,WALL,24 VDC,RD | 57.3387
CN123153 | HS-24-W | HN,4 WIRE,WALL,24 VDC,WHT | 57.3387
CN126264 | HS4-24MCC-FR | HN STR,4 WIRE,CEIL,24 VDC,15/30/75/95CD,RD | 124.4337
CN126250 | HS4-24MCC-FW | HN STR,4 WIRE,CEIL,24 VDC,15/30/75/95CD,WHT | 124.4337
CN126228 | HS4-24MCCH-FR | HN STR,4 WIRE,CEIL,H INT,24 VDC,115/177CD,RD | 138.7605
CN126225 | HS4-24MCCH-FW | HN STR,4 WIRE,CEIL,H INT,24 VDC,115/177CD,WHT | 138.7605
CN123150 | HS4-24MCW-FR | HN STR,4 WIRE,WALL,24 VDC,15/30/75/110CD,RD | 124.4337
CN123151 | HS4-24MCW-FW | HN STR,4 WIRE,WALL,24 VDC,15/30/75/110CD,WHT | 124.4337
CN123132 | HS4-24MCWH-FR | HN STR,4 WIRE,WALL,H INT,24 VDC,135/185CD,RD | 138.7605
CN123148 | HS4-24MCWH-FW | HN STR,4 WIRE,WALL,H INT,24 VDC,135/185CD,WHT | 138.7605
WEATHERPROOF AH/AS HORN AND HORN STROBE - TECH DATA SHEET TD450112EN
3 dB levels
CN127416 | AH-24WP-R | HN,SURFACE,WALL/CEIL,WTHPRF, 24VDC,RD (WBB REQ) | 42.9751
CN129012 | ASWP-2475W-FR | HN STR,WALL,WTHPRF, 24VDC,3dB,75CD,RD | 92.2174
CN120200 | ASWP-2475W-NR | HN STR,WALL,WTHPRF, 24VDC,3dB,75CD,NO LTR,RD | 92.2174
CN125755 | ASWP-2475W-FW | HN STR,WALL,WTHPRF, 24VDC,3dB,75CD,WHT | 92.2174
CN129700 | ASWP-2475W-NW | HN STR,WALL,WTHPRF, 24VDC,3dB,75CD,NO LTR,WHT | 92.2174
CN124251 | ASWP-2475C-FR | HN STR,CEIL,WTHPRF, 24VDC,3dB,75CD,RD | 92.2174
CN124502 | ASWP-2475C-FW | HN STR,CEIL,WTHPRF, 24VDC,3dB,75CD,WHT | 92.2174
CN125149 | ASWP-24MCCH-FR | HN STR,CEIL,HIGH INT,WTHPRF,24VDC,3dB,115/177,RD | 106.8475
CN125157 | ASWP-24MCCH-FW | HN STR,CEIL,HIGH INT,WTHPRF, 24VDC,3dB,115/177,WHT | 106.8475
CN125137 | ASWP-24MCWH-FR | HN STR,WALL,HIGH INT,WTHPRF, 24VDC,3dB,135/185,RD | 106.8475
CN125140 | ASWP-24MCWH-FW | HN STR,WALL,HIGH INT,WTHPRF, 24VDC,3dB,135/185,WHT | 106.8475
SERIES MT MULTITONE & MULTITONE STROBES - TECH DATA SHEET TD450038EN
MT MULTITONE ELECTRONIC APPLIANCE
8 TONES - SELECTIVE
CN125023 | MT-12/24-R | 8 MULTITONE,FLUSH,WALL/CEIL,12/24 VDC,RD | 41.7678
CN125024 | MT-12/24-W | 8 MULTITONE,FLUSH,WALL/CEIL, 12/24VDC,WHT | 41.7678
CN125308 | MT4-12/24-R | 8 MULTITONE,WALL/CEIL,12/24 VDC,RD | 51.5896
CN126223 | MT4-115-R | 8 MULTITONE,SURFACE,WALL/CEIL, 115 VAC,RD | 54.8297
CN128421 | MT-121575W-FR | 8 MULTITONE STR,WALL,12 VDC,1575CD, RD | 154.5743
CN129461 | MT-121575W-FW | 8 MULTITONE STR,WALL,12 VDC,1575CD, WHT | 154.5743
CN129747 | MT-121575W-NW | 8 MULTITONE STR,WALL,12 VDC,1575CD,NO LTR,WHT | 154.5743
CN123301 | MT-24MCW-FR | 8 MULTITONE STR,WALL,24 VDC,15/30/75/110CD,RD | 106.432
CN123303 | MT-24MCW-FW | 8 MULTITONE STR,WALL,24 VDC,15/30/75/110CD,WHT | 106.432
CN123304 | MT-24MCW-AR | 8 TONE STR,WALL,24 VDC,15/30/75/110CD,AGENT,RD | 106.432
CN123305 | MT-24MCW-NW | 8 TONE STR,WALL,24 VDC,15/30/75/110CD,NO LTR,WHT | 106.432
CN126224 | MT4-115-WH-VFR | 8 TONE VERTICAL STR,WALL,115VAC,15CD,RD | 103.7867
WEATHERPROOF MT MULTITONE STROBE - UL 1638 TECH - DATA SHEET TD450112EN
CN128420 | MTWP-2475W-FR | 8 MULTITONE STR,WALL,WTHPRF,24 VDC,75CD,RD | 120.4757
CN123112 | MTWP-2475W-FW | 8 MULTITONE STR,WALL,WTHPRF,24 VDC,75CD,WT | 120.4757
CN129744 | MTWP-2475W-NW | 8 MULTITONE STR,WALL,WTHPRF,24 VDC,75CD,NO LTR,WT | 120.4757
CN124457 | MTWP-2475C-FR | 8 MULTITONE STR,CEIL,WTHPRF,24 VDC,75CD,RD | 120.4757
CN124458 | MTWP-2475C-FW | 8 MULTITONE STR,CEIL,WTHPRF,24 VDC,75CD,WHT | 120.4757
CN125102 | MTWP-24MCCH-FR | 8 TONE STR,CEIL,H INT,WTHPRF,24 VDC,115/177CD,RD | 133.3092
CN125122 | MTWP-24MCCH-FW | 8 TONE STR,CEIL,H INT,WTHPRF,24 VDC,115/177CD,WHT | 133.3092
CN125132 | MTWP-24MCWH-FR | 8 TONE STR,WALL,H INT,WTHPRF,24 VDC,135/185CD,RD | 133.3092
CN125134 | MTWP-24MCWH-FW | 8 TONE STR,WALL,H INT,WTHPRF,24 VDC,135/185CD,WHT | 133.3092
SERIES AMT MULTITONE HORNS & HORN STROBES - Technical Data TD450041EN
HORN PROVIDES 8 SETS OF PRESELECTED TONES
CN125887 | AMT-12/24-R | 8 MULTITONE,3 INPUT,WALL/CEIL,12/24 VDC,RD | 95.3811
CN123300 | AMT-24MCW-FR | 8 MULTITONE STR,3 INP,WALL,24V,15/30/75/110CD,RD | 161.2739
CN123302 | AMT-24MCW-FW | 8 MULTITONE STR,3 INP,WALL,24V,15/30/75/110CD,WHT | 161.2739
CN125587 | AMT-24MCW-NW | 8 MULTITONE STR,3 INP,WALL,24V,15/30/75/110CD,NO LTR,WHT | 161.2739
AMT - NYC W/3 PRESET PRIORITY TONES
MIZ Horn - Technical Data TD450052EN
MIZ piezoelectric mini horns
CN138485 | MIZ-24S-R | MINI HORN,WALL,24 VDC,TEMPORAL/CONTINUOUS,RD | 19.0728
CN138484 | MIZ-24S-W | MINI HORN,WALL,24 VDC,TEMPORAL/CONTINUOUS,WH | 19.0728
EXCEDER PATENTED LED TECHNOLOGY WALL MOUNT STROBES
LOW PROFILE, SMALL FOOTPRINT DESIGN
EASY-TO-INSTALL WITH FINGER SLIDE DESIGN
4 CONVENIENT MOUNTING OPTIONS, INCLUDING EXCEDER SINGLE GANG BACKBOXES (LSBB)
CN126279 | LSTR3 | LED STR,RED,2W,WALL,12/24V,4CD | 60.1
CN126262 | LSTW3 | LED STR,WHITE, ED,2W,WALL,12/24V,4CD | 60.1
EXCEDER LED STROBES - WALL - NO LETTERING & SPECIAL LETTERING
CN126383 | LSTR3-A | LED STR,RED,2W,WALL,12/24V,8CD,AGENT | 66.7306
CN126386 | LSTR3-AL | LED STR,RED,2W,WALL,12/24V,8CD,ALERT | 66.7306
CN126260 | LSTR3-N | LED STR,RED,2W,WALL,12/24V,8CD,NO LTR | 66.7306
CN126387 | LSTR3-ALA | LED STR,RED,2W,WALL,12/24V,8CD,ALERT,AMBER | 72.0351
CN126553 | LSTR3-ALB | LED STR,RED,2W,WALL,12/24V,8CD,ALERT,BLUE | 79.2379
CN126278 | LSTR3-NA | LED STR,RED,2W,WALL,12/24V,8CD,NO LTR,AMBER | 72.0351
CN126554 | LSTR3-NB | LED STR,RED,2W,WALL,12/24V,8CD,NO LTR,BLUE | 79.2379
CN126388 | LSTW3-A | LED STR,WHT,2W,WALL,12/24V,8CD,AGENT | 66.7306
CN126390 | LSTW3-AL | LED STR,WHT,2W,WALL,12/24V,8CD,ALERT | 66.7306
CN126265 | LSTW3-N | LED STR,WHT,2W,WALL,12/24V,8CD,NO LTR | 66.7306
CN126391 | LSTW3-ALA | LED STR,WHT,2W,WALL,12/24V,8CD,ALERT,AMBER | 72.0351
CN126547 | LSTW3-ALB | LED STR,WHT,2W,WALL,12/24V,8CD,ALERT,BLUE | 79.2379
CN126266 | LSTW3-NA | LED STR,WHT,2W,WALL,12/24V,8CD,NO LTR,AMBER | 72.0351
CN126548 | LSTW3-NB | LED STR,WHT,2W,WALL,12/24V,8CD,NO LTR,BLUE | 79.2379
CN122402 | LSBB-R | LED SURFACE BACK BOX, RED | 12.875
CN122403 | LSBB-W | LED SURFACE BACK BOX, WHITE | 12.875
CN120533 | ESB-KIT-R | LED TRIM KIT, RED | 5.0212
CN120534 | ESB-KIT-W | LED TRIM KIT, WHITE | 5.0212
EXCEDER PATENTED LED TECHNOLOGY CEILING MOUNT STROBES
CN126267 | LSTRC3 | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,FIRE | 61.697
CN126273 | LSTBC3 | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,BLK,FIRE | 68.1345
CN126402 | LSTRC3-AL | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,ALERT | 68.1345
Contact CSR | LSTBC3-AL | LED STR,RED,2W,CEILING,24V, 15/30/75/954CD,BLK,ALERT | 68.1345
CN126403 | LSTRC3-ALA | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,ALERT,AMBER | 73.2845
CN126555 | LSTRC3-ALB | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,ALERT,BLUE | 80.6284
CN126269 | LSTRC3-NA | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,NO LTR,AMBER | 73.2845
CN126556 | LSTRC3-NB | LED STR,RED,2W,CEILING,24V, 15/30/75/95CD,NO LTR,BLUE | 80.6284
CN126268 | LSTWC3 | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,FIRE | 61.697
CN126404 | LSTWC3-AL | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,ALERT | 68.1345
CN126405 | LSTWC3-ALA | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,ALERT,AMBER | 73.2845
CN126545 | LSTWC3-ALB | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,ALERT,BLUE | 80.6284
CN126585 | LSTWC3-N | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,NO LTR | 68.1345
Contact CSR | LSTBC3-N | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,BLK,NO LTR | 68.1345
CN126270 | LSTWC3-NA | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,NO LTR,AMBER | 73.2845
CN126546 | LSTWC3-NB | LED STR,WHITE,2W,CEILING,24V, 15/30/75/95CD,NO LTR,BLUE | 80.6284
EXCEDER STROBES - WALL - Technical Data TD450049EN
CN127380 | STR | STR,RED,2W,WALL,12/24V,8CD | 60.7142
CN127685 | STW | STR,WHT,2W,WALL,12/24V,8CD | 60.7142
EXCEDER STROBES - WALL - NO LETTERING & SPECIAL LETTERING
CN127427 | STR-N | STR,RED,2W,WALL,12/24V,8CD,NO LTR | 67.3623
CN127429 | STW-N | STR,WHT,2W,WALL,12/24V,8CD,NO LTR | 67.3623
CN123365 | STR-AL | STR,RED,2W,WALL,12/24V,8CD,ALERT | 64.1545
CN123364 | STW-AL | STR,WHT,2W,WALL,12/24V,8CD,ALERT | 64.1545
CN123328 | STR-A | STR,RED,2W,WALL,12/24V,8CD,AGENT | 64.1545
CN123340 | STW-A | STR,WHT,2W,WALL,12/24V,8CD,AGENT | 64.1545
EXCEDER STROBES - WALL - COLORED LENS
CN127686 | STR-NA | STR,RED,2W,WALL,12/24V,8CD,NO LTR,AMBER | 70.8529
CN127784 | STR-NB | STR,RED,2W,WALL,12/24V,8CD,NO LTR,BLUE | 70.8529
CN128688 | STR-NG | STR,RED,2W,WALL,12/24V,8CD,NO LTR,GRN | 70.8529
CN128140 | STR-NR | STR,RED,2W,WALL,12/24V,8CD,NO LTR,RED | 70.8529
EXCEDER STROBES - WALL - COLORED LENS - NO LETTERING & SPECIAL LETTERING
CN127782 | STW-NA | STR,WHT,2W,WALL,12/24V,8CD,NO LTR,AMBER | 74.3956
CN128138 | STW-NB | STR,WHT,2W,WALL,12/24V,8CD,NO LTR,BLUE | 74.3956
CN128742 | STW-NG | STR,WHT,2W,WALL,12/24V,8CD,NO LTR,GRN | 74.3956
CN128502 | STW-NR | STR,WHT,2W,WALL,12/24V,8CD,NO LTR,RED | 74.3956
CN127922 | STR-ALA | STR,RED,2W,WALL,12/24V,8CD,ALERT,AMBER | 70.8529
CN123320 | STW-ALA | STR,WHT,2W,WALL,12/24V,8CD,ALERT,AMBER | 70.8529
CN127628 | STR-AB | STR,RED,2W,WALL,12/24V,8CD,AGENT,BLUE | 70.8529
EXCEDER STROBES - CEILING - Technical Data TD450049EN
CN127477 | STRC | STR,RED,2W,CEILING,12/24V,8CD | 64.1974
CN127488 | STWC | STR,WHT,2W,CEILING,12/24V,8CD | 64.1974
EXCEDER STROBES - CEILING - NO LETTERING & SPECIAL LETTERING
CN128012 | STRC-N | STR,RED,2W,CEILING,12/24V,8CD,NO LTR | 67.3623
CN123353 | STRC-AL | STR,RED,2W,CEILING,12/24V,8CD,ALERT | 67.3623
CN123329 | STRC-A | STR,RED,2W,CEILING,12/24V,8CD,AGENT | 67.3623
CN128032 | STWC-N | STR,WHT,2W,CEILING,12/24V,8CD,NO LTR | 67.3623
CN123352 | STWC-AL | STR,WHT,2W,CEILING,12/24V,8CD,ALERT | 67.3623
CN123341 | STWC-A | STR,WHT,2W,CEILING,12/24V,8CD,AGENT | 67.3623
EXCEDER STROBES - CEILING - COLORED LENS - NO LETTERING & SPECIAL LETTERING
CN128064 | STRC-NA | STR,RED,2W,CEILING,12/24V,8CD,NO LTR,AMBER | 74.3956
CN128108 | STRC-NB | STR,RED,2W,CEILING,12/24V,8CD,NO LTR,BLUE | 74.3956
CN128500 | STRC-NR | STR,RED,2W,CEILING,12/24V,8CD,NO LTR,RED | 74.3956
CN123334 | STRC-ALA | STR,RED,2W,CEILING,12/24V,8CD,ALERT,AMBER | 74.3956
CN128105 | STWC-NA | STR,WHT,2W,CEILING,12/24V,8CD,NO LTR,AMBER | 74.3956
CN128464 | STWC-NB | STR,WHT,2W,CEILING,12/24V,8CD,NO LTR,BLUE | 74.3956
CN128265 | STWC-NG | STR,WHT,2W,CEILING,12/24V,8CD,NO LTR,GRN | 74.3956
CN128502 | STWC-NR | STR,WHT,2W,CEILING,12/24V,8CD,NO LTR,RED | 74.3956
CN123346 | STWC-ALA | STR,WHT,2W,CEILING,12/24V,8CD,ALERT,AMBER | 74.3956
CN123347 | STWC-AB | STR,WHT,2W,CEILING,12/24V,8CD,AGENT,BLUE | 74.3956
NAC ALERT VISUAL APPLIANCES
SERIES RSS
RSS STROBES - LOW CURRENT, NON SYNC/SYNC
RSS STROBE APPLIANCES - Technical Data TD450040EN
WALL MOUNT ONLY
CN129400 | RSS-24MCW-FR | STR,WALL,24 VDC,15/30/75/110CD,RD | 78.68
CN129401 | RSS-24MCW-FW | STR,WALL,24 VDC,15/30/75/110CD,WHT | 78.68
CN123190 | RSS-24MCW-NR | STR,WALL,24 VDC,15/30/75/110CD,NO LTR,RD | 78.68
CN128219 | RSS-24MCW-NW | STR,WALL,24 VDC,15/30/75/110CD,NO LTR,WHT | 78.68
CN124840 | RSS-24MCW-ALR | STR,WALL,24 VDC,15/30/75/110CD,ALERT,RD | 78.68
CN125842 | RSS-24MCW-ALW | STR,WALL,24 VDC,15/30/75/110CD,ALERT,WHT | 78.68
CN123465 | RSS-24MCWH-FR | STR,WALL,H INT,24 VDC,135/185CD,RD | 92.7808
CN123464 | RSS-24MCWH-FW | STR,WALL,H INT,24 VDC,135/185CD,WHT | 92.7808
CN123781 | RSS-24MCWH-NR | STR,WALL,H INT,24 VDC,135/185CD,NO LTR,RD | 92.7808
CN105864 | RSS-24MCWH-NW | STR,WALL,H INT,24 VDC,135/185CD,NO LTR,WHT | 92.7808
CEILING MOUNT ONLY
CN123157 | RSS-24MCC-FR | STR,CEIL,24 VDC,15/30/75/95CD,RD | 78.68
CN123158 | RSS-24MCC-FW | STR,CEIL,24 VDC,15/30/75/95CD,WHT | 78.68
CN126432 | RSS-24MCC-ALR | STR,CEIL,24 VDC,15/30/75/95CD,ALERT,RED | 78.68
CN124004 | RSS-24MCC-ALW | STR,CEIL,24 VDC,15/30/75/95CD,ALERT,WHT | 78.68
CN123183 | RSS-24MCC-NW | STR,CEIL,24 VDC,15/30/75/95CD,NO LTR,WHT | 78.68
CN123460 | RSS-24MCCH-FR | STR,CEIL,H INT,24 VDC,115/177CD,RD | 92.7808
CN123461 | RSS-24MCCH-FW | STR,CEIL,H INT,24 VDC,115/177CD,WHT | 92.7808
RSSP STROBE PLATE APPLIANCE - Technical Data TD450040EN
WALL MOUNT ONLY
CN107798 | RSSP-121575W-FR | STR PLATE,WALL,12 VDC,1575CD,RD | 119.3185
CN109402 | RSSP-24MCW-FR | STR PLATE,WALL,24 VDC,15/30/75/110CD,RD | 93.5094
CN109403 | RSSP-24MCW-FW | STR PLATE,WALL,24 VDC,15/30/75/110CD,WHT | 93.5094
CN103795 | RSSP-24MCW-NR | STR PLATE,WALL,24 VDC,15/30/75/110CD,NO LTR,RD | 93.5094
CN103188 | RSSP-24MCW-NW | STR PLATE,WALL,24 VDC,15/30/75/110CD,NO LTR,WHT | 93.5094
CN109482 | RSSP-24MCWH-FR | STR PLATE,WALL,H INT,24 VDC,135/185CD,RD | 119.0053
RSS WEATHERPROOF STROBE - Technical Data TD450040EN
CN129013 | RSSWP-2475W-FR | STR,WALL,WTHPRF,24 VDC,75CD,RD | 79.5974
CN123034 | RSSWP-2475W-FW | STR,WALL,WTHPRF,24 VDC,75CD,WHT | 79.5974
CN129778 | RSSWP-2475W-NW | STR,WALL,WTHPRF, 24VDC,75CD,NO LTR,WHT | 79.5974
CN129743 | RSSWP-2475W-NR | STR,WALL,WTHPRF, 24VDC,75CD,NO LTR,RD | 79.5974
CN125727 | RSSWP-2475W-ALR | STR,WALL,WTHPRF,24 VDC,75CD,ALERT,RD | 79.5974
CN125793 | RSSWP-2475W-ALW | STR,WALL,WTHPRF,24 VDC,75CD,ALERT,WHT | 79.5974
CN124338 | RSSWP-2475C-FR | STR,CEIL,WTHPRF,24 VDC,75CD,RD | 79.5974
CN124446 | RSSWP-2475C-FW | STR,CEIL,WTHPRF,24 VDC,75CD,WHT | 79.5974
CN125167 | RSSWP-24MCCH-FR | STR,CEIL,H INT,WTHPRF,24 VDC,115/177CD,RD | 90.5979
CN125187 | RSSWP-24MCCH-FW | STR,CEIL,H INT,WTHPRF,24 VDC,115/177CD,WHT | 90.5979
CN125161 | RSSWP-24MCWH-FR | STR,WALL,H INT,WTHPRF,24 VDC,135/185CD,RD | 90.6029
CN125165 | RSSWP-24MCWH-FW | STR,WALL,H INT,WTHPRF,24 VDC,135/185CD,WHT | 90.6029
NAC SPECIALTY APPLIANCES
SERIES CH - CHIME STROBES - Technical Data TD450027EN
WALL MOUNT ONLY
CN109018 | CH70-24MCW-FR | CHIME STR,SQ. WALL,24 VDC,15/30/75/110CD,RD | 181.5143
CN109019 | CH70-24MCW-FW | CHIME STR,SQ.,WALL,24 VDC,15/30/75/110CD,WHT | 181.5143
CN109083 | CH70-24MCWH-FR | CHIME STR,SQ.,WALL,H INT,24 VDC,135/185CD,RD | 193.6996
CN109084 | CH70-24MCWH-FW | CHIME STR,SQ.,WALL,H INT,24 VDC,135/185CD,WHT | 193.6996
CH CHIME ONLY
CN107825 | CH70-24-R | CHIME,SQ.,24 VDC,RD | 84.0076
CN107827 | CH70-24-W | CHIME,SQ.,24 VDC,WHT | 84.0076
CEILING MOUNT ONLY
CN113167 | CH90-24MCC-FR | CHIME STR,RND,CEIL,24 VDC,15/30/75/95CD,RD | 181.5143
CN113168 | CH90-24MCC-FW | CHIME STR,RND,CEIL,24 VDC,15/30/75/95CD,WHT | 181.5143
CN113110 | CH90-24MCCH-FW | CHIME STR,RND,CEIL,24VDC,115/177CD,WHT | 193.6996
CH CHIME ONLY
CN107828 | CH90-24-R | CHIME,RND,24 VDC,RD | 84.0076
CN107826 | CH90-24-W | CHIME,RND,24 VDC,WHT | 84.0076
SERIES LED HIGH FIDELITY SPEAKERS & SPEAKER STROBES
DATA SHEET # LEDHIFI WALL
HIGH FIDELITY SOUND OUTPUT
ENERGY EFFICIENT, LOW-PROFILE DESIGN
4 FIELD SELECTABLE SETTINGS - 15, 30, 75 110 cd
SELECTABLE TAPS 1/8 WATT UP TO 2 WATTS, 25/70 VRMS OPERATION
LED HIGH FIDELITY SPEAKER & SPEAKER STROBES
CN110758 | LSPKR | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,RD | 40.2399
CN110759 | LSPKW | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,WHT | 40.2399
CN126248 | LSPSTR3 | LED 2W HF SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,RD | 110.6307
CN126249 | LSPSTW3 | LED 2W HF SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,WHT | 110.6307
CN110756 | LSPKBB-R | LED SPKR SURFACE BACKBOX WALL RED | 18.4164
CN110757 | LSPKBB-W | LED SPKR SURFACE BACKBOX WALL WHT | 18.4164
LED HIGH FIDELITY SPEAKER & SPEAKER STOBES WITH SPECIAL LETTERING
CN110795 | LSPKR-N | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,RD,NO LTR | 46.8706
CN110796 | LSPKW-N | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,WHT,NO LTR | 46.8706
CN110767 | LSPKR-AL | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,RD,ALERT | 46.8706
CN110766 | LSPKW-AL | LED 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,WHT,ALERT | 46.8706
CN126251 | LSPSTR3-N | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,RED,NO LTR | 117.2613
CN126253 | LSPSTW3-N | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,WHT,NO LTR | 117.2613
CN126376 | LSPSTR3-AL | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,RD,ALERT | 117.2613
CN126381 | LSPSTW3-AL | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,WHT,ALERT | 117.2613
CN126252 | LSPSTR3-NA | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,RD,NO LTR,AMBER | 122.5658
CN126254 | LSPSTW3-NA | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,WH,NO LTR,AMBER | 122.5658
LED HIGH FIDELITY SPEAKER STOBES WITH COLOR LENS & SPECIAL LETTERING
CN126379 | LSPSTR3-ALA | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,RD,ALERT,AMBER | 122.5658
CN126382 | LSPSTW3-ALA | LED 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,WHT,ALERT,AMBER | 122.5658
LED HIGH FIDELITY SPEAKER & SPEAKER STROBES - CEILING
SEMNI FLUSH, 24VDC
CN110918 | LSPKRC-F | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,RD,FIRE | 42.4154
CN110919 | LSPKWC | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,WHT,FIRE | 42.4154
CN126276 | LSPKBC | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,BLK,FIRE | 48.8529
CN111009 | LSPKRC-N | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC ,RD,NO LTR | 48.8529
CN111010 | LSPKWC-N | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,WHT,NO LTR | 48.8529
Contact CSR | LSPKBC-N | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,BLK,NO LTR | 48.8529
CN110995 | LSPKRC-AL | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,RD,ALERT | 48.8529
CN110996 | LSPKWC-AL | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,WHT,ALERT | 48.8529
Contact CSR | LSPKBC-AL | LED 2W HF SPKR,RND,SEMI FLUSH,CEIL, 24VDC,BLK,ALERT | 48.8529
CN126255 | LSPSTRC3 | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,RD,FIRE | 110.7559
CN126256 | LSPSTWC3 | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,WHT,FIRE | 110.7559
CN126263 | LSPSTBC3 | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,BLK,FIRE | 117.1934
CN126398 | LSPSTRC3-AL | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,RD,ALERT | 117.1934
CN126400 | LSPSTWC3-AL | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,WHITE,ALERT | 117.1934
Contact CSR | LSPSTBC3-AL | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,BLK,ALERT | 117.1934
CN126401 | LSPSTWC3-ALA | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,WHT,ALERT,AMBER | 122.3434
CN126399 | LSPSTRC3-ALA | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,RD,ALERT,AMBER | 122.3434
CN126586 | LSPSTWC3-N | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,WHT,NO LTR | 117.1934
Contact CSR | LSPSTBC3-N | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,BLK,NO LTR | 117.1934
CN126258 | LSPSTWC3-NA | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,WHT,NO LTR,AMBER | 122.3434
CN126257 | LSPSTRC3-NA | LED 2W HF SPKR STRB,RND,CEIL, 24VDC,15/30/75/95CD,RD,NO LTR,AMBER | 122.3434
CN120927 | LSPKBB-CR | LED SPKR SURFACE BACKBOX CEILING RED | 18.4164
CN121003 | LSPKBB-CW | LED SPKR SURFACE BACKBOX CEILING WHT | 18.4164
HIGH FIDELITY SPEAKERS AND SPEAKER STROBES - Data Sheet E50H/E60H
CN119863 | E50H-R | 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,RD | 40.7927
CN119864 | E50H-W | 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,WHT | 40.7927
CN113577 | E50H-ALW | 2W HF SPKR,SQ,SEMI FLUSH,WALL,24VDC,ALERT,WHT | 40.7916
CN110092 | E50H-24MCW-FR | 2W HF SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,RD | 111.5393
CN110093 | E50H-24MCW-FW | 2W HF SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,WHT | 111.5393
CN113559 | E50H-24MCW-ALR | 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,ALERT,RD | 111.543
CN113560 | E50H-24MCW-ALW | 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,ALERT,WHT | 111.543
CN113575 | E50H-24MCW-NW | 2W HF SPKR STR,RND,WALL, 24VDC, 15/30/75/110C,NO LTR,WHT | 111.543
CN113557 | E50HA-24MCW-ALW | 2W HF SPKR STR,SQ,WALL,AMBER,24VDC, 15/30/75/110CD,ALERT,WHT | 116.3171
CN110094 | E50H-24MCWH-FR | 2W HF SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,RD | 124.5725
CN110097 | E50H-24MCWH-FW | 2W HF SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,WHT | 124.5725
CN113561 | E50H-24MCWH-ALW | 2W HF SPKR STR,SQ,WALL,H INT,24VDC, 135/185CD,ALERT,WHT | 124.5709
HIGH FIDELITY SPEAKERS AND SPEAKER STROBES - Data Sheet E50H/E60H
CN119867 | E60H-R | 2W RND HF SPKR,CEIL,RD | 40.7927
CN119874 | E60H-W | 2W RND HF SPKR,CEIL,WHT | 40.7927
CN113554 | E60H-ALW | 2W RND HF SPKR,CEIL,ALERT,WHT | 40.7916
CN110187 | E60H-24MCC-FR | 2W HF SPKR STR,RND,CEIL,24VDC,15/30/75/95CD,RD | 111.5393
CN110188 | E60H-24MCC-FW | 2W HF SPKR STR,RND,CEIL,24VDC,15/30/75/95CD,WHT | 111.5393
CN110950 | E60H-24MCC-NW | 2W HF SPKR STR,RND,CEIL,24VDC, 15/30/75/95CD,WHT,NO LTR | 111.543
CN113555 | E60H-24MCC-ALW | 2W HF SPKR STR,RND,CEIL,24VDC, 15/30/75/95CD,ALERT,WHT | 111.543
CN113556 | E60HA-24MCC-ALW | 2W HF SPKR STR,RND,CEIL,AMBER,24VDC, 15/30/75/95CD,ALERT,WHT | 116.3171
CN110189 | E60H-24MCCH-FR | 2W HF SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,RD | 124.5725
CN110190 | E60H-24MCCH-FW | 2W HF SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,WHT | 124.5725
HIGH FIDELITY SPEAKERS AND SPEAKER STROBES - Data Sheet E70H/E90H
CN119865 | E70H-R | 2W HF SPKR,SQ,WALL/CEIL,RD | 40.7927
CN119866 | E70H-W | 2W HF SPKR,SQ,WALL/CEIL,WHT | 40.7927
CN110183 | E70H-24MCW-FR | 2W HF SPKR STR,SQ,WALL,24VDC ,15/30/75/110CD,RD | 111.5393
CN110184 | E70H-24MCW-FW | 2W HF SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,WHT | 111.5393
CN113578 | E70H-24MCW-ALR | 2W HF SPKR STR,SQ,WALL,24VDC, 15/30/75/110CD,ALERT,RD | 111.543
CN113579 | E70H-24MCC-FW | 2W HF SPKR STR,SQ,CEIL, 24VDC,15/30/75/95CD,WHT | 111.543
CN113580 | E70H-24MCW-ALW | 2W HF SPKR STR,SQ,WALL, 24VDC, 15/30/75/110CD,ALERT,WHT | 111.543
CN113585 | E70HA-24MCW-ALW | 2W HF SPKR STR,SQ,WALL,AMBER,24VDC, 15/30/75/110CD,ALERT,WHT | 116.3171
CN110185 | E70H-24MCWH-FR | 2W HF SPKR STR,SQ,WALL, H INT,24VDC,135/185CD,RD | 124.5725
CN110186 | E70H-24MCWH-FW | 2W HF SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,WHT | 124.5725
HIGH FIDELITY SPEAKERS AND SPEAKER STROBES - Data Sheet E70H/E90H
CN119875 | E90H-R | 2W HF SPKR,RND,WALL/CEIL,RD | 40.7927
CN119876 | E90H-W | 2W HF SPKR,RND,WALL/CEIL,WHT | 40.7927
CN110191 | E90H-24MCC-FR | 2W HF SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,RED | 111.5393
CN110192 | E90H-24MCC-FW | 2W HF SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,WHT | 111.5393
CN113587 | E90H-24MCC-ALR | 2W HF SPKR STR,RND,CEIL,24VDC, 15/30/75/95CD,ALERT,RED | 111.543
CN113586 | E90H-24MCC-ALW | 2W HF SPKR STR,RND,CEIL, 24VDC, 15/30/75/95CD,ALERT,WHT | 111.543
CN113589 | E90H-24MCC-NW | 2W HF SPKR STR,RND,CEIL, 24VDC, 15/30/75/95CD,NO LTR,WHT | 111.543
CN113590 | E90HA-24MCC-ALW | 2W HF SPKR STR,RND,CEIL,AMBER, 24VDC,15/30/75/95CD,ALERT,WHT | 116.3171
CN110193 | E90H-24MCCH-FR | 2W HF SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,RD | 124.5725
CN110194 | E90H-24MCCH-FW | 2W HF SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,WHT | 124.5725
CN113591 | E90HA-24MCCH-ALW | 2W HF SPKR STR,RND,CEIL,H INT,AMBER, 24VDC,115/177CD,ALERT,WHT | 129.3449
E50 SPEAKERS & SPEAKER STROBES - DATA SHEET #S0510
25/70 VRMS
1/8 - 2 WATTS
FITS INTO A 2 1/8" BACKBOX, NO EXTENSION RING NEEDED
CN110265 | E50-24MCC-FR | 2W SPKR STR,SQ,CEIL,24VDC,15/30/75/110CD,RD | 108.6013
CN110069 | E50-24MCC-FW | 2W SPKR STR,SQ,CEIL,24VDC,15/30/75/110CD,WHT | 108.6013
CN110226 | E50-24MCW-FR | 2W SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,RD | 108.6013
CN110227 | E50-24MCW-FW | 2W SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,WHT | 108.6013
CN126119 | E50-24MCW-NW | 2W SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,NO LTR,WHT | 108.6013
CN116217 | E50-24MCW-NR | 2W SPKR STR,SQ,WALL,24VDC,15/30/75/110CD,NO LTR,RED | 108.6013
CN116094 | E50-24MCW-ALR | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,ALERT,RD | 108.6013
CN116397 | E50-24MCW-ALW | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,ALERT,WHT | 108.6013
CN110228 | E50-24MCWH-FR | 2W SPKR STR,SQ,,WALL,H INT,24VDC,135/185CD,RD | 121.1363
CN110229 | E50-24MCWH-FW | 2W SPKR STR,SQ,,WALL,H INT,24VDC,135/185CD,WHT | 121.1363
CN113794 | E50-24MCWH-ALW | 2W SPKR STR,SQ,,WALL,H INT,24VDC,135/185CD,ALERT,WHT | 121.1363
SPEAKER ONLY
CN110222 | E50-R | 2W SPKR,SQ,SEMI FLUSH,WALL,24VDC,RD | 40.5426
CN110223 | E50-W | 2W SPKR,SQ,SEMI FLUSH,WALL,24VDC,WHT | 40.5426
CN116510 | E50-ALW | 2W SPKR,SQ,SEMI FLUSH,WALL,24VDC,ALERT,WHT | 40.5426
CN113945 | E50-R-ULC | 2W SPKR,SQ,SEMI-FLUSH,WALL,24VDC,RD,25/70V | 112.6606
CN113982 | E50-W-ULC | 2W SPKR,SQ,SEMI-FLUSH,WALL,24VDC,WHT,25/70V | 51.503
E60 SPEAKER STROBES - MULTI-CANDELA - DATA SHEET #S1611
CN113748 | E60-24MCC-FR | 2W SPKR STR,RND,CEIL,24VDC,15/30/75/95CD,RD | 108.6013
CN113747 | E60-24MCC-FW | 2W SPKR STR,RND,CEIL,24VDC,15/30/75/95CD,WHT | 108.6013
CN119590 | E60-24MCC-NW | 2W SPKR STR,RND,CEIL,24VDC,15/30/75/95CD,NO LTR,WHT | 108.6013
CN116543 | E60-24MCC-ALW | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,ALERT,WHT | 108.6013
CN114225 | E60-24MCW-FR | 2W SPKR STR,RND,WALL,24VDC,15/30/75/95CD,RD | 108.6013
CN114219 | E60-24MCW-FW | 2W SPKR STR,RND,WALL,24VDC,15/30/75/95CD,WHT | 108.6013
CN113750 | E60-24MCCH-FR | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,RD | 121.1363
CN114232 | E60-24MCWH-FW | 2W SPKR STR,RND,WALL,H INT,24VDC,115/177CD,WHT | 121.1363
CN113749 | E60-24MCCH-FW | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,WHT | 121.1363
SPEAKER ONLY
CN113746 | E60-R | 2W RND SPKR,CEIL,RD | 40.5426
CN113745 | E60-W | 2W RND SPKR,CEIL,WHT | 40.5426
CN119883 | E60-ALW | 2W RND SPKR,CEIL,ALERT,WHT | 40.5426
CN114017 | E60-W-ULC | 2W RND SPKR,CEIL,WHT,25/70V | 51.503
E70 & E90 SPEAKER & SPEAKER STROBES - DATA SHEET #S1610
WALL MOUNT ONLY
CN109022 | E70-24MCW-FR | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,RD | 108.6013
CN109023 | E70-24MCW-FW | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,WHT | 108.6013
CN113189 | E70-24MCW-NR | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,NO LTR, RED | 108.6013
CN109748 | E70-24MCW-NW | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,NO LTR, WHT | 108.6013
CN114123 | E70-24MCW-ALR | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,ALERT,RD | 108.6013
CN114124 | E70-24MCW-ALW | 2W SPKR STR,SQ,WALL, 24VDC,15/30/75/110CD,ALERT,WHT | 108.6013
CN113470 | E70-24MCWH-FR | 2W SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,RD | 121.1363
CN113474 | E70-24MCWH-FW | 2W SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,WHT | 121.1363
CN124456 | E70-24MCWH-ALW | 2W SPKR STR,SQ,WALL,H INT,24VDC,135/185CD,ALERT,WHT | 121.1363
CEILING MOUNT ONLY
CN110102 | E70-24MCC-FW | 2W SPKR STR,SQ,CEIL, 24VDC,15/30/75/95CD,WHT | 108.6013
CN111000 | E70-24MCC-NW | 2W SPKR STR,SQ,CEIL, 24VDC,15/30/75/95CD,WHT,NO LTR | 108.6013
CN114308 | E70-24MCC-ALR | 2W SPKR STR,SQ,CEIL, 24VDC,15/30/75/95CD,ALERT,RD | 108.6013
CN115838 | E70-24MCC-ALW | 2W SPKR STR,SQ,CEIL, 24VDC,15/30/75/95CD,ALERT,WHT | 108.6013
SPEAKER ONLY
CN117866 | E70-R | 2W SPKR,SQ,WALL/CEIL,RD | 40.5426
CN117868 | E70-W | 2W SPKR,SQ,WALL/CEIL,WHT | 40.5426
SPEAKER STROBE
CN113165 | E90-24MCC-FR | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,RED | 108.6013
CN113166 | E90-24MCC-FW | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,WHT | 108.6013
CN113181 | E90-24MCC-NW | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,NO LTR | 108.6013
CN114309 | E90-24MCC-ALR | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,ALERT,RD | 108.6013
CN114189 | E90-24MCC-ALW | 2W SPKR STR,RND,CEIL, 24VDC,15/30/75/95CD,ALERT,WHT | 108.6013
CN113481 | E90-24MCCH-FR | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,RD | 121.1363
CN112975 | E90-24MCCH-ALW | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,ALERT,WHT | 121.1363
CN113471 | E90-24MCCH-FW | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,WHT | 121.1363
CN112974 | E90-24MCCH-NW | 2W SPKR STR,RND,CEIL,H INT,24VDC,115/177CD,NO LTR,WHT | 121.1363
SPEAKER ONLY
CN117867 | E90-R | 2W SPKR,RND,WALL/CEIL,RD | 40.5426
CN117869 | E90-W | 2W SPKR,RND,WALL/CEIL,WHT | 40.5426
SPEAKERS & SPEAKER STROBES
SERIES ET - DATA SHEET #S0310
SPEAKER w/NON SYNC/SYNC STROBES
SELECTABLE 25/70 VRMS
1/8 - 8 WATTS
SERIES ET - DATA SHEET #S0510
WALL MOUNT ONLY
CN109020 | ET70-24MCW-FR | 8W SPKR STR,WALL,24 VDC,15/30/75/110CD,RD | 141.2227
CN109021 | ET70-24MCW-FW | 8W SPKR STR,WALL,24 VDC,15/30/75/110CD,WHT | 141.2227
CN109906 | ET70-24MCW-NW | 8W SPKR STR,WALL,24 VDC,15/30/75/110CD,NO LTR,WHT | 141.2227
CN115902 | ET70-24MCW-ALR | 8W SPKR STR,WALL,24 VDC,15/30/75/110CD,ALERT,RD | 141.2227
CN117000 | ET70-24MCW-ALW | 8W SPKR STR,WALL,24 VDC,15/30/75/110CD,ALERT,WHT | 141.2227
CN115697 | ET70-24MCCH-FW | 8W SPKR STR,CEIL,H INT,24VDC,135/185CD,WHT | 152.0885
CN113472 | ET70-24MCWH-FR | 8W SPKR STR,WALL,H INT,24VDC,135/185CD,RD | 152.0885
CN113475 | ET70-24MCWH-FW | 8W SPKR STR,WALL,H INT,24VDC,135/185CD,WHT | 152.0885
CN117206 | ET70-24MCWH-NW | 8W SPKR STR,WALL,H INT,24VDC,135/185CD,NO LTR,WHT | 152.0885
SPEAKER ONLY
CN117840 | ET70-R | 8W SQ SPKR,WALL/CEIL,24VDC,RD | 59.9329
CN117844 | ET70-W | 8W SQ SPKR,WALL/CEIL,24VDC,WHT | 59.9329
CEILING MOUNT ONLY
CN113163 | ET90-24MCC-FR | 8W SPKR STR,CEIL,24 VDC,15/30/75/95CD,RED | 141.2198
CN113164 | ET90-24MCC-FW | 8W SPKR STR,CEIL,24 VDC,15/30/75/95CD,WHT | 141.2198
CN113182 | ET90-24MCC-NW | 8W SPKR STR,CEIL,24 VDC,15/30/75/95CD,NO LTR,WHT | 141.2198
CN110276 | ET90-24MCC-ALW | 8W SPKR STR,CEIL,24 VDC,15/30/75/95CD,ALERT,WHT | 141.2198
CN110139 | ET90-24MCCH-FR | 8W SPKR STR,CEIL,H INT,24VDC,115/177CD,RD | 152.0838
CN113473 | ET90-24MCCH-FW | 8W SPKR STR,CEIL,H INT,24VDC,115/177CD,WHT | 152.0838
CN114496 | ET90-24MCCH-NW | 8W SPKR STR,CEIL,H INT,24VDC,115/177CD,NO LTR,WHT | 152.0838
CN110277 | ET90A-24MCC-ALW | 8W SPKR STR,AMBER,CEIL,24 VDC,15/30/75/95CD,WHT | 146.226
CN115843 | ET90A-24MCCH-ALW | 8W SPKR STR,AMBER,CEIL,H INT,24VDC,115/177CD,WHT | 156.9223
SPEAKER ONLY
CN117842 | ET90-R | 8W RND SPKR,WALL/CEIL,24VDC,RD | 64.1187
CN117846 | ET90-W | 8W RND SPKR,WALL/CEIL,24VDC,WHT | 59.4555
WEATHERPROOF SPEAKER STROBE - UL1638/UL1480 - DATA SHEET TD450112EN
CN114452 | ET70WP-2475C-FR | 8W SPKR STR,CEIL,WTHPRF,24 VDC,75CD,RD | 135.4595
CN114454 | ET70WP-2475C-FW | 8W SPKR STR,CEIL,WTHPRF,24 VDC,75CD,WHT | 135.4595
CN119077 | ET70WP-2475W-FR | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,RD | 135.4595
CN113179 | ET70WP-2475W-FW | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,WHT | 135.4595
CN113799 | ET70WP-2475W-NR | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,NO LTR,RD | 135.4595
CN110168 | ET70WP-2475W-NW | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,NO LTR,WHT | 135.4595
CN114480 | ET70WP-2475W-ALR | 8W SPKR STR,WALL,WTHPRF, 24 VDC,75CD,ALERT,RD | 135.4595
CN114481 | ET70WP-2475W-ALW | 8W SPKR STR,WALL,WTHPRF, 24 VDC,75CD,ALERT,WHT | 135.4595
CN116801 | ET70WP-2475C-ALR | 8W SPKR STR,CEIL,WTHPRF, 24 VDC,75CD,ALERT,RD | 135.4595
CN117101 | ET70WP-2475C-ALW | 8W SPKR STR,CEIL,WTHPRF, 24 VDC,75CD,ALERT,WHT | 135.4595
CN119078 | ET70WP-2475W-FR KIT | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,RD,W-IOB | 155.5296
CN119079 | ET70WP-2475W-FW KIT | 8W SPKR STR,WALL,WTHPRF,24 VDC,75CD,WHT-W-IOB | 155.5296
CN119080 | ET70WP-2475C-FR KIT | 8W SPKR STR,CEIL,WTHPRF,24 VDC,75CD,RD-W-IOB | 155.5296
CN119081 | ET70WP-2475C-FW KIT | 8W SPKR STR,CEIL,WTHPRF,24 VDC,75CD,WHT-W-IOB | 155.5296
CN114550 | ET70WP-24115C-FR | 8W SPKR STR,CEIL,WTHPRF,115CD,RD | 146.5199
CN114732 | ET70WP-24115C-FW | 8W SPKR STR,CEIL,WTHPRF,115CD,WHT | 146.5199
CN114872 | ET70WP-24135W-FR | 8W SPKR STR,WALL,WTHPRF,135CD,RD | 146.5199
CN114875 | ET70WP-24135W-FW | 8W SPKR STR,WALL,WTHPRF,135CD,WHT | 146.5199
CN114845 | ET70WP-24177C-FR | 8W SPKR STR,CEIL,WTHPRF,177CD,RD | 146.5199
CN114859 | ET70WP-24177C-FW | 8W SPKR STR,CEIL,WTHPRF,177CD,WHT | 146.5199
CN116803 | ET70WP-24177C-ALR | 8W SPKR STR,CEIL,WTHPRF,177CD, ALERT,RD | 146.5199
CN114885 | ET70WP-24185W-FR | 8W SPKR STR,WALL,WTHPRF,185CD,RD | 146.5199
CN114891 | ET70WP-24185W-FW | 8W SPKR STR,WALL,WTHPRF, 185CD, WHT | 146.5199
VANDAL SPEAKERS AND SPEAKER STROBES - DATA SHEET #S0800
25/70 VRMS, 1/8 - 8 WATTS
CN103135 | ET-1010-R | 8W VAN RES SPKR,SURFACE MNT,WALL/CEIL,RD | 96.0776
CN103137 | ET-1010-W | 8W VAN RES SPKR,SURFACE MNT,WALL/CEIL,WHT | 96.0776
CN113141 | ET-1080-R | 8W VAN RES SPKR,FLUSH MNT, WALL/CEIL,RD | 76.319
CN113142 | ET-1080-W | 8W VAN RES SPKR,FLUSH MNT, WALL/CEIL,WHT | 76.319
CN119834 | ET-1080-R-ULC-D | 8W VAN RES SPKR,FLUSH MNT, WALL/CEIL,RD, INDOOR/OUTDOOR | 103.2609
CN119835 | ET-1080-W-ULC-D | 8W VAN RES SPKR,FLUSH MNT, WALL/CEIL,WHT,INDOOR/OUTDOOR | 103.2609
Series ET Speaker Strobes
CN113476 | ET80-24MCW-FR | 8W VAN RES SPKR STR,WALL,24VDC,15/30/75/110CD,RD | 152.012
CN113477 | ET80-24MCW-FW | 8W VAN RES SPKR STR,WALL,24VDC,15/30/75/110CD,WHT | 152.012
CN114112 | ET80-24MCW-FR-ULC | 8W VAN RES SPKR STR,WALL,24VDC,15/30/75/110CD,RD | 152.012
CN113478 | ET80-24MCWH-FR | 8W VAN RES SPKR STR,WALL,H INT,24VDC,135/185CD,RD | 165.9146
CN113479 | ET80-24MCWH-FW | 8W VAN RES SPKR STR,WALL,H INT,24V,135/185CD WHT | 165.9146
SERIES S
8" SUPERVISED SPEAKERS - DATA SHEET #S1100
CN100052 | S8-70/25 | 8" SPKR,RND,CEIL,25/70V,WHT | 106.4305
CN100054 | S8-24MCC-FW | 8" SPKR,RND,CEIL,25/70V, 15/30/75/95CD,WHT | 180.9319
CN100056 | S8-24MCCH-FW | 8"SPKR,STR,RND,CEIL,25/70V, 115/177,CD,WHT | 196.9107
CN103694 | S8A-24MCC-NW | 8"SPKR,STR,AMBR,RND,CEIL,25/70V, 15/30/75/95CD,WHT | 193.777
CN103696 | S8B-24MCC-NW | 8" SPKR,STR,BLUE,RND,CEIL,25/70V, 15/30/75/95CD,WHT | 193.777
CN103695 | S8A-24MCCH-NW | 8"SPKR,STR,AMBR,RND,CEIL,25/70V, 115/177,CD,WHT | 210.3067
SERIES STH
15 WATT SUPERVISED HORN LOUDSPEAKER - DATA SHEET #S0100
CN107938 | STH-15SR | SUPERVISED HORN,ADJUSTABLE MOUNTING,15W,25/70V,RD | 204.9248
CN107937 | STH-15S | SUPERVISED HORN,ADJUSTABLE MOUNTING,15W,25/70V,GRY | 204.9248
CN100046 | STH-15SR-ULC | SUPERVISED HORN,ADJUSTABLE MOUNTING,15W,25/70V,RD,ULC | 248.7939
CN108207 | STH-15S-ULC | SUPERVISED HORN,ADJUSTABLE MOUNTING,15W,25/70V,GRY,ULC | 248.7939
CN106096 | STH-RSSP-KIT | STH HRN,STR,MNT PLT/BASE,25/70V,15/30/75/110CD,RD | 324.7579
HIGH POWERED SPEAKER ARRAY
Provides crisp, intelligible voice and tone warnings over large outdoor coverage areas, where immediate notification is essential
HPSA-7102-R | HPSA-7102-R | HIGH POWERED SPKR ARRAY, Wired, 2 HORNS, Regulatory | 32092.225
HPSA-7104-R | HPSA-7104-R | HIGH POWERED SPKR ARRAY, Wired, 4 HORNS, Regulatory | 36468.4375
HPSA-7106-R | HPSA-7106-R | HIGH POWERED SPKR ARRAY, Wired, 6 HORNS, Regulatory | 41136.3975
HPSA-7108-R | HPSA-7108-R | HIGH POWERED SPKR ARRAY, Wired, 8 HORNS, Regulatory | 45512.61
HPSA-7100-V-KIT | HPSA-7100-V-KIT | HPSA-7100-V-KIT | 116.699
HPSA-MIC | HPSA-MIC | HPSA MICROPHONE ASSEMBLY | 735.2037
CAB-SPKR-KIT | CAB-SPKR-KIT | KIT, BULK, SPEAKER CABLE, TERMINALS | 2649.7383
HRNMT-100 | HRNMT-100 | KIT, HORN MNTG, SIDE OF WOODEN POLE | 6105.1957
HRNMT-250 | HRNMT-250 | KIT, HORN MNTG, ROOF SLED, 11' MAST | 6212.1795
K08-00154 | K08-00154 | POLE CAP, WELDMENT, HPSA | 1769.0985
K08-00155 | K08-00155 | MOUNT, HORN, WELDMENT, HPSA, 105" | 2560.9596
M37-00056 | M37-00056 | KIT, FLOOR MOUNT STAND SERIES HPSA | 2550.9818
NAC CONTROLS
DSM SYNC MODULES - DATA SHEET # S3000
CONTROLLER FOR SYNCHRONIZING PRODUCTS WITH SYNC CAPABILITY
CN126374 | DSM-12/24-R | SYNC MODULE,2 CLASS "B" OR 1 CLASS "A" CIRCUIT,RD | 111.4582
POWERPATH 8 AMP POWER SUPPLY - Technical Data TD450003EN
CN105532 | PSX-LOG | REPLACEMENT LOGIC BOARD FOR PS-8 or PS-6 | 410.3996
CN105533 | PSX-PS | REPLACEMENT POWER SUPPLY BOARD FOR PS-8 or PS-6,120V | 536.0192
CN105535 | PSX-PSE | REPLACEMENT POWER SUPLY BOARD FOR PS-8 or PS-6, 220V | 543.9171
CN105540 | PS-8-LP | FLTRD/REGULATED PWR SUPPLY/CHARGER,8AMP,24VDC,RED,LP | 716.2666
CN105553 | PS-8-EXP-LP | PS-8 WITH PS-EXP,FLTRD/REGULATED PWR SUPPLY/CHARGER, 8AMP, 24VDC,RED,LP | 892.0896
CN105587 | PS-8-B-LP | FLTRD/REGULATED PWR SUPPLY/ CHARGER,8AMP,24VDC,BLACK,LP | 716.2666
CN105542 | PS-8E-LP | FLTRD/REGULATED PWR SUPPLY/ CHARGER,8AMP,24VDC,RED,220V,LP | 730.8858
CN105555 | PS-8E-B-LP | FLTRD/REGULATED PWR SUPPLY/ CHARGER,8AMP,24VDC,BLACK,220V,LP | 730.8858
CN105552 | PS-8E-EXP-LP | PS-8 WITH PS-EXP,FLTRD/REGULATED PWR SUPPLY/CHARGER, 8AMP, 24VDC,RED,220V,LP | 906.7088
CN105534 | PS-EXP | PS-8 PLUG IN MODULE,4 CLASS "A" or 8 CLASS "B" CIRCUITS,RD | 193.4286
BELLS
SERIES 43T AC VIBRATING BELLS - Technical Data TD450054EN
INDOOR AND OUTDOOR
CN101627 | 43T-G6-24-R | AC VIB BELL,INDOOR/OUTDOOR,24 VAC,6" SHELL,RD | 107.0297
CN101631 | 43T-G6-115-R | AC VIB BELL,INDOOR/OUTDOOR,115 VAC,6" SHELL,RD | 107.0297
CN101647 | 43T-G10-24-R | AC VIB BELL,INDOOR/OUTDOOR,24 VAC,10" SHELL,RD | 144.8352
CN101651 | 43T-G10-115-R | AC VIB BELL,INDOOR/OUTDOOR,115 VAC,10" SHELL,RD | 144.8352
SERIES MB MOTOR BELLS - Technical Data TD450055EN
INDOOR AND OUTDOOR
CN103941 | MB-G6-24-R | MOTOR BELL,INDOOR/OUTDOOR,24 VDC,6" SHELL,RD | 68.0338
CN103942 | MB-G6-12-R | MOTOR BELL,INDOOR/OUTDOOR,12 VDC,6" SHELL,RD | 68.0338
CN103943 | MB-G10-24-R | MOTOR BELL,INDOOR/OUTDOOR,24 VDC,10" SHELL,RD | 92.3396
CN103944 | MB-G10-12-R | MOTOR BELL,INDOOR/OUTDOOR,12 VDC,10" SHELL,RD | 92.3396
AC HORN
SERIES 31T 115 VAC HORN - DATA SHEET #S0500
ELECTRO-MECHANICAL
CN102805 | 31T-115-R | ELECTRO MECHANICAL HORN,115 VAC,SEMI FLUSH,RD | 88.1637
FIRE ALARM DEVICES
MANUAL PULL STATIONS - DATA SHEET #S5008
CN108400 | MPS-100 | MANUAL PULL STATION,SPST,SINGLE ACTION,KEY RESET | 85.1849
CN108401 | MPS-200 | MANUAL PULL STATION,SPST,DOUBLE ACTION,KEY RESET | 106.7678
CN108403 | MPS-400X | MANUAL PULL STATION,EXPLOSION PROOF KEY RESET | 1294.7571
CN108404 | MPS-ISB | MANUAL PULL STATION SURFACE BACKBOX,INDOOR | 32.9333
CN108405 | MPS-WP | MANUAL PULL STATION BACKBOX W/GASKET,WEATHERPROOF | 125.1667
CN108406 | MPS-RODS BREAKRODS | MANUAL PULL STATION REPLACE. BREAKRODS(12),ACRYLIC | 27.258
NAC ACCESSORIES
ENCLOSURES - DATA SHEET #S9002
CN108151 | EWR | STR ENCLOSURE AND DRAIN SCREEN,STROBE | 299.259
CN108150 | EWP | STR ENCLOSURE AND DRAIN SCREEN,STROBE,WTHPRF | 299.259
CN108152 | EN4 ENCL NEMA 4-X | STROBE ENCLOSURE,NEMA 4 RATED | 255.0498
MOUNTING ACCESSORIES - DATA SHEET #S7000
CN102961 | AP-R | PLATE,ADAPTER,RD | 20.5482
CN100053 | AP-W | PLATE,ADAPTER,WHT | 20.5482
CN102830 | BB-R | BACKBOX,4" ,RD | 10.959
CN102955 | DBB-R | BACKBOX,4" DEEP,RD | 13.1425
CN103232 | DBB-W | BACKBOX,4" DEEP,WHT | 12.0473
CN110230 | E50SB-R | BACKBOX,SURFACE FOR E50 SPKR,RD | 17.9296
CN110231 | E50SB-W | BACKBOX,SURFACE FOR E50 SPKR,WHT | 17.9296
CN110232 | E50SSB-R | BACKBOX,SURFACE FOR E50 SPKR/STR,RD | 19.9948
CN110233 | E50SSB-W | BACKBOX,SURFACE FOR E50 SPKR/STR,WHT | 19.9948
CN113758 | E60EXT-R | EXTENDER RING FOR E60 SPEAKER,RD | 8.2082
CN113757 | E60EXT-W | EXTENDER RING FOR E60 SPEAKER,WHT | 8.2082
CN102749 | ESBR | EXCEDER SURFACE MOUNT WALL RED | 15.6736
CN102750 | ESBW | EXCEDER SURFACE MOUNT WALL WHT | 15.6736
CN102751 | ESBCR | EXCEDER SURFACE MOUNT CEILING RED | 17.0122
CN102752 | ESBCW | EXCEDER SURFACE MOUNT CEILING WHITE | 17.0122
CN105046 | IOB-R | BACKBOX,SURFACE,IN/OUT,RD | 21.6458
CN105047 | IOB-W | BACKBOX,SURFACE,IN/OUT,WHT | 21.6458
CN103194 | ISP2-R | EXTENDER,SUFACE,INDOOR,RD | 9.7004
CN103195 | ISP2-W | EXTENDER,SUFACE,INDOOR,WHT | 9.7004
CN109850 | OSB-R | OUTDOOR SURFACE BACKBOX-ET-1080-ULC, RD | 50.9427
CN109851 | OSB-W | OUTDOOR SURFACE BACKBOX-ET-1080-ULC, WHT | 50.9427
CN105042 | RP-R | RETROFIT PLATE,RD | 13.1508
CN105156 | RP-W | RETROFIT PLATE,WHT | 13.1508
CN103204 | SBB-R | BACKBOX,SURFACE,RD | 24.5767
CN103193 | SBB-W | BACKBOX,SURFACE,WHT | 24.5767
CN106988 | SBL2-R | BACKBOX,SURFACE FOR RSSP,RD | 30.6658
CN106989 | SBL2-W | BACKBOX,SURFACE FOR RSSP,WHT | 30.6658
CN103045 | SER-R | EXTENSION RING,SURFACE,RD | 15.5299
CN103049 | SER-W | EXTENSION RING,SURFACE,WHT | 15.5299
CN102957 | SFP-R | PLATE,SEMI FLUSH ,RD | 11.0911
CN102958 | SFP-W | PLATE,SEMI FLUSH ,WHT | 11.0911
CN107254 | SHBB-R | BACKBOX,SURFACE FOR NS/AS/RSS,RD | 18.6359
CN107255 | SHBB-W | BACKBOX,SURFACE FOR NS/AS/RSS,RD | 18.6359
CN108154 | SHMP-R | PLATE,ADAPTER,STH 15SR HORN SPKR TO RSSP PLATE,RD | 17.5233
CN108123 | SHMP-W | PLATE,ADAPTER,STH 15SR HORN SPKR TO RSSP PLATE,WHT | 17.5233
CN100236 | SHMP-S | PLATE,ADAPTER,STH 15SR HORN SPKR TO RSSP PLATE,S | 17.5233
CN102959 | WBB-R | BACKBOX,OUTDOOR,RD | 22.093
CN102960 | WBB-W | BACKBOX,OUTDOOR,WHT | 22.093
CN104698 | WFPA-R | MOUNTING PLATE,FLUSH,OUTDOOR,ASWP ONLY,RD | 27.926
CN104701 | WFPA-W | MOUNTING PLATE,FLUSH,OUTDOOR,ASWP ONLY,WHT | 27.926
CN104696 | WFP-R | MOUNTING PLATE.FLUSH,OUTDOOR,RD | 27.926
CN104697 | WFP-W | MOUNTING PLATE.FLUSH,OUTDOOR,WHT | 27.926
CN109014 | WPBB-R | BACKBOX FOR SERIES ASWP,WTHPRF,RD | 27.5457
CN104692 | WPBB-W | BACKBOX FOR SERIES ASWP,WTHPRF,WT | 27.5457
CN103871 | WBB-R-1/2T-1/2B | BACKBOX | 32.8631
CN105233 | WBB-R-3/4T-3/4B | BACKBOX | 32.8631
CN104486 | WP-KIT | GASKET KIT FOR REAR WIRING TO OUTDOOR BACKBOXES | 10.3262
CN109751 | WPSBB-R | BACKBOX FOR SERIES RSSWP,WTHPRF,RD | 23.1384
CN103033 | WPSBB-W | BACKBOX FOR SERIES RSSWP,WTHPRF,WHT | 23.1384
OPTIONAL PLATES AND GRILLES:
RSS Plates
CN109050 | RSSCP-R | PLATE FOR RSS,RD | 8.536
CN109052 | RSSCP-W | PLATE FOR RSS,WHT | 8.536
CN109051 | RSSCPW-FR | PLATE FOR RSS,FIRE LTR,RD | 9.5993
CN109053 | RSSCPW-FW | PLATE FOR RSS,FIRE LTR,WHT | 9.5993
CN104495 | RSSRP-FW | PLATE FOR RSS,RND,FIRE LTR,WHT | 9.6743
CH70, E70, ET70
CN109058 | ECHG70-R | GRILL PLATE FOR CH70,E70,ET70,SQ,RD | 10.0411
CN109059 | ECHG70-W | GRILL PLATE FOR CH70,E70,ET70,SQ,WHT | 10.0411
CN109060 | ECHSG70W-FR | GRILL PLATE FOR SPEAKER STROBE CH70,E70,ET70,SQ,FIRE LTR,RD | 10.4444
CN109061 | ECHSG70W-FW | GRILL PLATE FOR SPEAKER STROBE CH70,E70,ET70,SQ,FIRE LTR,WHT | 10.4444
CH90, E90, ET90 Grilles
CN109062 | ECHG90-R | GRILL PLATE FOR CH90,E90,ET90,RND,RD | 11.4458
CN109063 | ECHG90-W | GRILL PLATE FOR CH90,E90,ET90,RND,WHT | 11.4458
CN109064 | ECHSG90-R | GRILL PLATE FOR CH90,E90,ET90,RND,FIRE LTR,RD | 10.0411
CN109065 | ECHSG90-W | GRILL PLATE FOR CH90,E90,ET90,RND,FIRE LTR,WHT | 10.0411
E50 SPEAKER STROBES Grilles
CN100138 | ECHSG50-FW | GRILL PLATE FOR E50 SPKR STR,FIRE LTR,WHT | 10.0411
CN100137 | ECHSG50-FR | GRILL PLATE FOR E50 SPKR STR,FIRE LTR,RD | 10.0411
E50 SPEAKERS grilles
CN100136 | ECHG50-W | GRILL PLATE FOR E50 SPKR,WHT | 8.0385
CN100135 | ECHG50-R | GRILL PLATE FOR E50 SPKR,RD | 8.0385
E60 SPEAKER STROBES Grilles
CN104491 | ECHSG60-FW | GRILL PLT E60 SPEAKER STROBE,FIRE LTR,WHT | 11.863
CN104490 | ECHSG60-FR | GRILL PLT E60 SPEAKER STROBE,FIRE LTR,RD | 11.863
E60 SPEAKERS Grilles
CN104489 | ECHG60-W | GRILL PLT E60 SPEAKER,WHT | 11.863
CN104488 | ECHG60-R | GRILL PLT E60 SPEAKER,RD | 11.863
CN126214 | LFTP-R | LF TRIM PLATE RED | 5.253
CN126215 | LFTP-W | LF TRIM PLATE WHITE | 5.253
TELCO NOTIFICATION SIGNALS
UNIVERSAL TELEPHONE ALERTS
CN126338 | UTA-1 | UNIV. TEL. ALERT,24/48VDC, 24VAC,90VRMS,20Hz | 278.928
CN126348 | UTA-WH-VPS | UNIV. TEL. ALERT W/STR, 24/48VDC,24VAC(110VAC REQD) | 452.5083
CN126335 | UTA-WH-VNS | UNIV. TEL. ALERT W/STR, 24/48VDC,24VAC(110VAC REQD) No Lettering | 452.5083
OFFICE AREA ALERTS: INDOOR WARBLES
TELBELLS: INDOOR/OUTDOOR
CN104101 | TB-592 | TELBELL,INDOOR/OUTDOOR,18 30VAC/VDC,100dB | 200.7661
CN104103 | TB-593 | TELBELL,INDOOR/OUTDOOR,55 130 VRMS,20 30 HZ,95dB | 200.7661
POWER SUPPLIES
REGULATED POWER SUPPLIES
CN103770 | RPS-2406 | POWER SUPPLY,REGULATED,24 VDC,600 MA | 110.3256
INDUSTRIAL SIGNALS
INDUSTRIAL AUDIBLE BEACONS
CN104075 | ASRS-R-DC | AUDIBLE BEACON,42 TONES,18 30VDC,RED LENS,WHT | 524.9078
CN109068 | MIN-TA | AUD BEACON, 32 TONES,9 60VDC,AMBER LENS, DK GRY | 196.2465
SERIES AS, E, ET, MT, and RSS COLORED LENS APPLIANCES
(Amber, Blue, Green, and Red) - Data Sheet #S9021
Strobes - Ceiling Mount
CN120202 | RSSA-24MCC-NW | STR,AMBER,CEIL,24VDC,15/30/75/95CD,NO LTR,WHT | 91.9096
CN124831 | RSSA-24MCC-MW | STR,BLUE,CEIL,24VDC,15/30/75/95CD,EMERGENCY,WHT | 91.9096
CN123830 | RSSA-24MCC-ALW | STR,AMBER,CEIL,24VDC,15/30/75/95CD,ALERT,WHT - BLK LETTERING | 91.9096
CN128013 | RSSA-24MCC-ALW | STR,AMBER,CEIL,24VDC,15/30/75/95CD,ALERT,WHT - RED LETTERING | 91.9096
CN120203 | RSSB-24MCC-NW | STR,BLUE,CEIL,24VDC,15/30/75/95CD,NO LTR,WHT | 91.9096
CN125917 | RSSR-24MCC-NW | STR,RED,CEIL,24VDC,15/30/75/95CD,,NO LTR,WHT | 91.9096
CN120204 | RSSG-24MCC-NW | STR,GREEN,CEIL,24VDC,15/30/75/95CD,NO LTR,WHT | 91.9096
Strobes - Wall Mount
CN124829 | RSSA-24MCW-NW | STR,AMBER,WALL,24VDC, 15/30/75/95CD,NO LTR,WHT | 91.9096
CN124830 | RSSA-24MCW-MW | STR,AMBER,WALL,24VDC, 15/30/75/95CD,EMERGENCY,WHT | 91.9065
CN102971 | RSSA-24MCW-ALW | STR,AMBER,WALL,24VDC, 15/30/75/95CD,ALERT,WHT,RED LTR | 91.9096
CN124019 | RSSA-24MCW-ALW | STR,AMBER,WALL,24VDC, 15/30/75/95CD,ALERT,WHT,BLK LTR | 91.9096
CN129791 | RSSB-24MCW-ALW | STR,BLUE,WALL,24VDC, 15/30/75/95CD,ALERT,WHT | 91.9096
CN122401 | RSSB-24MCW-NW | STR,BLUE,WALL,24VDC, 15/30/75/95CD,NO LTR,WHT | 91.9096
Strobes - High Intensity - Ceiling Mount
CN120525 | RSSA-24MCCH-NW | STR,AMBER,CEIL,H INT, 24VDC,115/177CD,NO LTR,WHT | 91.9096
CN106154 | RSSB-24MCCH-NW | STR,BLUE,CEIL,H INT, 24VDC,115/177CD,NO LTR,WHT | 91.9096
CN106155 | RSSG-24MCCH-NW | STR,GREEN,CEIL,H INT,24VDC,115/177CD,NO LTR,WHT | 91.9096
CN106156 | RSSR-24MCCH-NW | STR,RED,CEIL,H INT, 24VDC 115/177CD,NO LTR,WHT | 91.9096
Strobes - High Intensity - Wall Mount
CN122750 | RSSA-24MCWH-ALW | STR,AMBER,WALL,H INT, 24VDC,115/177CD,ALERT,WHT | 91.9096
CN129792 | RSSB-24MCWH-ALW | STR,BLUE,WALL,H INT, 24VDC,115/177CD,ALERT,WHT | 91.9096
Strobe Plates - Wall Mount
CN106093 | RSSPA-24MCW-ALW | STR PLT,AMBER,WALL, 24VDC,15/30/75/110CD,ALERT,WHT | 98.6061
Weatherproof Strobes - Wall Mount
CN120240 | RSSWPA-2475W-NW | STR,AMBER,WALL,WTHPRF, 24VDC,75CD,NO LTR,WHT | 84.2874
CN125214 | RSSWPA-2475W-ALW | STR,AMBER,WALL,WTHPRF, 24VDC,75CD,ALERT,WHT | 84.2874
Weatherproof Strobes - Ceiling Mount
CN124800 | RSSWPA-2475C-ALW | STR,AMBER,CEIL,WTHPRF, 24VDC,75CD,ALERT,WHT | 84.2874
CN129795 | RSSWPB-2475C-ALW | STR,BLUE,CEIL,WTHPRF, 24VDC,75CD,ALERT,WHT | 84.2874
Weatherproof Strobes - High Intensity - Ceiling Mount
CN106158 | RSSWPA-24MCCH-NW | STR,AMBER,CEIL,HINT,WPRF, 24V,115/177CD, NO LTR,WHT | 95.2928
CN106159 | RSSWPB-24MCCH-NW | STR,BLUE,CEIL,HINT,WPFR, 24V,115/177CD,NO LTR,WHT | 95.2928
CN106160 | RSSWPG-24MCCH-NW | STR,GREEN,CEIL,HINT,WPFR, 24V,115/177CD,NO LTR,WHT | 95.2928
CN106161 | RSSWPR-24MCCH-NW | STR,RED,CEIL,HINT,WPFR, 24V,115/177CD,NO LTR,WHT | 95.2928
Weatherproof Strobes - High Intensity
CN129780 | RSSWPA-24MCWH-ALW | STR,AMBER,WALL,H INT,WPRF, 24V,115/177CD,ALERT,WHT | 95.2928
CN129094 | RSSWPA-24MCCH-ALW | STR,AMBER,CEIL,H INT,WPRF, 24V,115/177CD,ALERT,WHT | 95.2928
Audible Strobes - Ceiling Mount
CN106162 | ASA-24MCC-NW | AUD STR,AMBER,CEIL,24VDC, 15/30/75/95CD,NO LTR,WHT | 156.8152
CN106164 | ASB-24MCC-NW | AUD STR,BLUE,CEIL,24VDC, 15/30/75/95CD,NO LTR,WHT | 156.8152
Audible Strobes - Wall Mount
CN122350 | ASB-24MCW-NW | AUD STR,BLUE,WALL,24VDC, 15/30/75/95CD,NO LTR,WHT | 156.8152
Multitones
CN100048 | MTA-121575W-NW | MULTITONE,AMBER,WALL,12 VDC,1575CD,NO LTR,WHT | 161.7249
Multitones - High Intensity - Ceiling Mount
CN106167 | MTA-24MCCH-NW | MULTITONE,AMBER,CEIL,H INT,24V,115/177CD,NO LTR,WHT | 123.7972
CN106168 | MTB-24MCCH-NW | MULTITONE,BLUE,CEIL,H INT,24V,115/177CD,NO LTR,WHT | 123.7972
CN106169 | MTG-24MCCH-NW | MULTITONE,GREEN,CEIL,H INT,24V,115/177CD,NO LTR,WHT | 123.7972
CN106170 | MTR-24MCCH-NW | MULTITONE,RED,CEIL,H INT, 24V,115/177CD,NO LTR,WHT | 123.7972
Weatherproof Multitones - Wall Mount
CN129836 | MTWPA-2475W-NR | MULTITONE,AMBER,WALL,WTHPRF, 24V,75CD,NO LTR,RD | 125.5331
CN121649 | MTWPA-2475W-NW | MULTITONE,AMBER,WALL,WTHPRF, 24V,75CD,NO LTR,WHT | 125.5331
CN129837 | MTWPB-2475W-NR | MULTITONE,BLUE,WALL,WTHPRF, 24V,75CD,NO LTR,RD | 125.5331
CN126194 | MTWPR-2475W-NR | MULTITONE,REDE,WALL,WTHPRF, 24V,75CD,NO LTR,RD | 125.5331
CN121652 | MTWPB-2475W-NW | MULTITONE,BLUE,WALL,WTHPRF, 24V,75CD,NO LTR,WHT | 125.5331
CN119082 | MTWP-2475W-FR KIT | MULTITONE,WALL,WTHPRF, 24V,75CD,FIRE,RD,W-IOB | 141.141
CN119083 | MTWP-2475W-FW KIT | MULTITONE,WALL,WTHPRF, 24V,75CD,FIRE,WHT,W-IOB | 141.141
CN119084 | MTWP-2475W-NW KIT | MULTITONE,WALL,WTHPRF, 24V,75CD,NO LTR,WHT,W-IOB | 141.141
CN119085 | MTWPB-2475W-NW KIT | MULTITONE,BLUE,WALL,WTHPRF, 24V,75CD,NO LTR,WHT,W-IOB | 146.1915
Weatherproof Multitones - High Intensity - Ceiling Mount
CN106171 | MTWPA-24MCCH-NW | MULTITONE,AMBER,CEIL,H INT,WTHPRF,24V,115/177CD,NO LTR,WH | 138.3785
CN106172 | MTWPB-24MCCH-NW | MULTITONE,BLUE,CEIL,H INT,WTHPRF,24V,115/177CD,NO LTR,WH | 138.3785
CN106173 | MTWPG-24MCCH-NW | MULTITONE,GREEN,CEIL,H INT,WTHPRF,24V,115/177CD,NO LTR,WH | 138.3785
CN106174 | MTWPR-24MCCH-NW | MULTITONE,RED,CEIL,H INT,WTHPRF,24V,115/177CD,NO LTR,WH | 138.3785
Speaker Strobes - Wall/Ceiling Mount - Colored Lens
CN106165 | E50A-24MCC-NW | SPKR STR,AMBER,CEIL, 24V,15/30/75/95CD,NO LTR,WH | 115.8045
CN112956 | E50A-24MCW-NW | SPKR STR,AMBER,WALL, 24V,15/30/75/95CD,NO LTR,WH | 115.8045
CN113782 | E50A-24MCW-ALW | SPKR STR,AMBER,WALL, 24V,15/30/75/110CD,ALERT,WH | 115.8045
CN116048 | E60A-24MCC-NW | SPK STR,AMBER,SQ,CEIL,24V, 15/30/75/95CD,NO LTR,W | 113.0654
CN112967 | E60A-24MCC-ALW | SPK STR,AMBER,SQ,CEIL,24V, 15/30/75/95CD,ALERT,WH | 113.0654
CN110209 | E70A-24MCC-NW | SPK STR,AMBER,SQ,CEIL,24V, 15/30/75/95CD,NO LTR,WH | 113.0654
CN116389 | E70A-24MCC-ALW | SPK STR,AMBER,SQ,CEIL,24V, 15/30/75/95CD,ALERT,WH | 113.0654
CN117203 | E70A-24MCW-ALW | SPK STR,AMBER,SQ,WALL,24V, 15/30/75/95CD,ALERT,WH | 113.0654
CN110210 | E70B-24MCC-NW | SPK STR,BLUE,SQ,CEIL, 24V,15/30/75/95CD,NO LTR,WHT | 113.0654
CN110213 | E90A-24MCC-NW | SPK STR,AMBER,CEIL,24V, 15/30/75/95CD,NO LTR,WHT | 113.0654
CN115912 | E90R-24MCC-NW | SPK STR,RED,CEIL,24V, 15/30/75/95CD,NO LTR,WHT | 113.0654
CN115900 | E90A-24MCC-ALW | SPK STR,AMBER,CEIL,24V, 15/30/75/95CD,ALERT,WHT | 113.0654
CN110214 | E90B-24MCC-NW | SPK STR,BLUE,CEIL,24V, 15/30/75/95CD,NO LTR,WHT | 113.0654
CN119421 | E90G-24MCC-NW | SPK STR,GRN,CEIL,24V, 15/30/75/95CD,NO LTR,WHT | 113.0654
CN116333 | E90A-24MCCH-ALW | SPK STR,AMBER,CEIL,H INT CD,ALERT,WHT | 125.7258
Weatherproof Speaker Strobes - Wall Mount
CN116277 | ET70A-24MCW-ALW | SPKR STR,AMBER,WALL, 24VDC,15/30/75/110CD,ALERT,WH | 146.226
CN115594 | ET70A-24MCW-NW | SPKR STR,AMBER,WALL, 24VDC,15/30/75/110CD,NO LTR,WH | 146.226
CN112970 | ET70A-24MCWH-ALW | SPKR STR,AMBER,WALL, 24VDC,H INT CD,ALERT,WH | 156.9223
CN115550 | ET70A-24MCWH-NW | SPKR STR,AMBER,WALL, 24VDC,H INT CD,NO LTR,WH | 156.9223
CN110220 | ET70WPA-2475W-NW | SPKR STR,AMBER,WALL,WTHPRF, 24VDC,75CD,NO LTR,WH | 139.8309
CN115075 | ET70WPA-2475W-ALR | SPKR STR,AMBER,WALL,WTHPRF, 24VDC,75CD,ALERT,RD | 139.8309
CN110275 | ET70WPA-2475W-ALW | SPKR STR,AMBER,WALL,WTHPRF, 24VDC,75CD,ALERT,WH | 139.8309
AC MAX INDUSTRIAL STROBES (DOUBLE FLASH) - DATA SHEET #I1008
CN108120 | AC-MAX-A | AC MAX INDUST STR,AMBER,DOUBLE FLASH,120VAC | 450.1358
CN108121 | AC-MAX-B | AC MAX INDUST STR,BLUE,DOUBLE FLASH,120VAC | 450.1358
CN108122 | AC-MAX-C | AC MAX INDUST STR,CLEAR,DOUBLE FLASH,120VAC | 450.1358
CN108124 | AC-MAX-R | AC MAX INDUST STR,RED,DOUBLE FLASH,120VAC | 450.1358
DC MAX INDUSTRIAL STROBES (DOUBLE FLASH)
CN108130 | DC-MAX-A | DC MAX INDUST STR,AMBER,DOUBLE FLASH,10.5 31VDC | 410.7538
CN108131 | DC-MAX-B | DC MAX INDUST STR,BLUE,DOUBLE FLASH,10.5 31VDC | 410.7538
CN108132 | DC-MAX-C | DC MAX INDUST STR,CLEAR,DOUBLE FLASH,10.5 31VDC | 410.7538
CN108134 | DC-MAX-R | DC MAX INDUST STR,RED,DOUBLE FLASH,10.5 31VDC | 410.7538
DC MAX INDUSTRIAL STROBES (DOUBLE FLASH, STEADY LIGHT FEATURE)
CN108135 | DC-MAXS-A | DC MAX INDUST STR W/LIGHT, AMBER,DOUBLE FLASH,10.5 31VDC | 523.2878
CN108136 | DC-MAXS-B | DC MAX INDUST STR W/LIGHT, BLUE,DOUBLE FLASH,10.5 31VDC | 523.2878
CN108137 | DC-MAXS-C | DC MAX INDUST STR W/LIGHT, CLEAR,DOUBLE FLASH,10.5 31VDC | 523.2878
CN108139 | DC-MAXS-R | DC MAX INDUST STR W/LIGHT, RED,DOUBLE FLASH,10.5 31VDC | 523.2878
SERIES MT
8 TONES - SELECTIVE
MT WITHOUT STROBE
CN126142 | MT4-115-S | 8 MULTITONE,SURFACE,WALL/CEIL, 115VAC,SILVER | 54.8297
CN127997 | MT4-12/24-S | 8 MULTITONE,WALL/CEIL,12/24 VDC,SILVER | 51.5896
MT WITH STROBE
CN126143 | MT4-115-WH-VNS | 8 TONE VERTICAL STR,WALL,115VAC,15CD,NO LTR,GRAY | 103.7867
SERIES AMT
ADDRESSABLE INPUT APPLIANCE
CN125893 | AMT-12/24-W | 3 INPUT,8 TONE,WALL/CEIL,12/24 VDC,WHT | 95.3811
SERIES 31T
CN100521 | 31T-115-S | ELECTRO MECHANICAL HORN,SEMI FLUSH,115 VAC,SILVER | 88.1637
SERIES 43T
AC VIBRATING BELLS
CN101626 | 43T-G6-24-S | AC VIB BELL,INDOOR/OUTDOOR,24VAC,6" SHELL,SILVER | 107.0297
CN101630 | 43T-G6-115-S | AC VIB BELL,INDOOR/OUTDOOR,115VAC,6" SHELL,SILVER | 107.0297
CN103800 | 43T-G10-24-S | AC VIB BELL,INDOOR/OUTDOOR,24VAC,10" SHELL,SILVER | 144.8352
CN103693 | 43T-G10-115-S | AC VIB BELL,INDOOR/OUTDOOR,115VAC,10" SHELL,SILVER | 144.8352
SERIES MB
DC MOTOR BELLS
CN104221 | MB-G6-12-S | MOTOR BELL,INDOOR/OUTDOOR,12 VDC,6" SHELL,SILVER | 71.4399
CN104222 | MB-G6-24-S | MOTOR BELL,INDOOR/OUTDOOR,24 VDC,6" SHELL,SILVER | 71.4399
CN104884 | MB-G6-6-R | MOTOR BELL,INDOOR/OUTDOOR,6VDC,6" SHELL,RD | 68.3468
CN104223 | MB-G10-12-S | MOTOR BELL,INDOOR/OUTDOOR,12 VDC,10" SHELL,SILVER | 96.9604
CN104224 | MB-G10-24-S | MOTOR BELL,INDOOR/OUTDOOR,24 VDC,10" SHELL,SILVER | 96.9604
Explosion proof and hazardous location appliance
STROBES
PX56201144 | SM87HXBAUL024RN4R4LNNR | STR,RED LENS,24VDC,29CD, CLASS 1 DIV 1,RD | 2917.3838
PX56201072 | SM87HXBAUL024CN4R4LNNR | STR,CLEAR LENS,24VDC,29CD,CLASS 1 DIV 1,RD | 2917.3838
PX869174 | XB11UL02406CNBNNNR | STR,CLEAR LENS,24VDC,29CD,CLASS 1 DIV 2,RD | 1522.1084
PX869190 | XB11UL02406RNBNNNN | STR,RED LENS,24VDC,29CD,CLASS 1 DIV 2,BLK | 1522.1084
PX869171 | XB11UL02406RNBNNNR | STR,RED LENS,24VDC,29CD,CLASS 1 DIV 2,RD | 1522.1084
PX22600456 | XB12UL02406CNBNNNR | STR,CLEAR LENS,24VDC,255CD,CLASS 1 DIV 2,RD | 2086.1843
PX869181 | XB12UL02406RNBNNNR | STR,RED LENS,24VDC,255CD,CLASS 1 DIV 2,RD | 2086.1843
PX869410 | XB16UL02460RYNNZ Z=VARISTOR | STR,RED LENS,24VDC,285CD,CL 1 DIV 2,BLK | 1151.4469
PX29600042 | XB16US02460CYNRZ Z=VARISTOR | STR,CLEAR LENS,UL1971,24VDC,285CD,CL 1 DIV 2,RD (CN109202-002) | 1151.4469
PX18800386 | XB4ULB8D2E3E06ANCN1R | STR,CLEAR LENS,24VDC,355CD,CL 1 DIV 1,RD | 3433.0389
PX869121 | XB4ULB8D2E3E06ANRN1R | STR,RED LENS,24VDC,355CD,CL 1 DIV 1,RD | 3433.0389
HORNS
PX869115 | DB1HPULA024D1D2NNNR | MULTITONE,24VDC,100dBA,CL 1 DIV 1,RD | 4470.2996
PX869111 | DB1PULA024D1D2NNNR | MULTITONE,24VDC,93dBA,CL 1 DIV 1,RD | 3745.2689
PX41900061 | DB3BULG048N2CPNR | MULTITONE, 24VDCM 115dB, CL1 DIV 2, RD | 2470.1633
SPEAKERS
PX39900057 | DB4BULG1570N2CPCR C=1.5 | SPKR, 70VRMS, 15W TRANSFORMER, CL 1, DIV 2, RD | 1725.4818
PX39900058 | DB4BULG2570N2CPCR C=1.5 | SPKR, 70VRMS, 25W TRANSFORMER, CL 1, DIV2, RD | 1725.4817
COMBO UNITS
PX62501977 | DB3B/XB11UL 24V RED/RED WIRING | MULTITONE STR, RED LENS, 24VDC, CL 1 DIV 2 ,RD | 4908.1901
PX62501978 | DB3B/XB11UL 24V CLEAR/RED Z=WIR | MULTITONE STR, CLR LENS, 24VDC, CL 1 DIV 2 ,RD | 4908.1901
PX62501913 | DB4B25/XB11UL CLEAR/RED C=1.5 | SPKR STR, CLR LENS, 70VRMS, 25W TRANS, CL 1 DIV 2 ,RD | 3905.0863
PX62501915 | DB4B25/XB11UL RED/RED C=1.5 | SPKR STR, RD LENS, 70VRMS, 25W TRANS, CL 1 DIV 2 ,RD | 3905.0863
PUSH STATIONS
PX48000098 | PBUL4C6C4DSN7R | PUSH BUTTON,CL 1 DIV 2,FIRE LABEL,RD | 1393.1622
MOUNTING ACCESSORIES
CN102344 | AP-S | PLATE,ADAPTER,SILVER | 20.5482
CN102349 | BB-S | BACKBOX,4",SILVER | 10.959
CN105783 | DBB-S | BACKBOX,4" DEEP,SILVER | 12.0473
CN102384 | SFP-S | PLATE,SEMI FLUSH,SILVER | 11.0911
CN102411 | WBB-S | BACKBOX,OUTDOOR,SILVER | 22.093
SAFEPATH SYSTEMS - DATA SHEET V2003
CN109884 | SPMNS | Safepath MNS Control Unit | 4509.0439
CN109885 | SPMNS-MIC | MIC: Safepath MNS Microphone | 497.4161
CN109929 | SP40S | SAFEPATH MULTIFUNCTION FACILITY COMMU SYS | 2941.3969
CN109935 | SP40S-B | SAFEPATH MULTIFUNCTION FACILITY COMMUN SYS,BLK | 2941.3969
CN109781 | SP40S-D | SAFEPATH MULTIFUNCTION FACILITY COMMU SYS w/ A 10-MIN TIMEOUT FEATURE | 2941.3969
CN109854 | SP40S-D-B | SAFEPATH MULTIFUNCTION FACILITY COMMUN SYS,BLK SYS w/ A 10-MIN TIMEOUT FEATURE | 2941.3969
CN106138 | SP40SE | SAFEPATH MULTIFUNCTION FACILITY COMMUN SYS, 220 VAC | 3018.8145
CN109782 | SP40SE-D | SAFEPATH MULTIFUNCTION FACILITY COMMUN SYS, 220 VAC SYS w/ A 10-MIN TIMEOUT FEATURE | 3018.8145
CN109783 | SP40S-D-PIK | User interface chip that upgrades the SP40S with the 10-minute message timeout feature | 303.9675
CN109937 | AM-SP40S-SMK | SP40S AFTER MKT 8 MESSAGE STANDARD MESSAGE KIT | 276.341
CN109938 | AM-SP40S-PMK | SP40S AFTER MKT 8 MESSAGE FACTORY PROGRAM KIT | 276.341
CN109939 | AM-SP40S-NBT | SP40S NARROWBAND TONE MESSAGE KIT | 276.341
CN118989 | SPB-160 | SP40S SUPERVISED AUDIO POWER BOOSTER,160W,RD | 2941.3969
CN119930 | SPB-160-B | SP40S SUPERVISED AUDIO POWER BOOSTER,160W,BLK | 2941.3969
CN106149 | SPB-160E | SP40S SUPERVISED AUDIO POWER BOOSTER,160W,RD, 220 VAC | 2941.3969
CN106150 | SPB-160E-B | SP40S SUPERVISED AUDIO POWER BOOSTER,160W,RD, 220 VAC,BLK | 2941.3969
CN118988 | SPB-80/4 | SP SUPERV AUDIO POWER BOOSTER,80W,4A STRB PWR,RD | 2941.3969
CN119931 | SPB-80/4-B | SP SUPERV AUDIO POWER BOOSTER,80W,4A STRB PWR,BLK | 2941.3969
CN106147 | SPB-80/4E | SP SUPERV AUDIO POWER BOOSTER,80W,4A STRB PWR,RD, 220 VAC | 2941.3969
CN119918 | SPB-320 | AUDIO POWER BOOSTER,320W | 5882.8048
CN115591 | SPB-320-B | AUDIO POWER BOOSTER,320W,BLK | 5882.8048
CN106336 | SPB-320E | AUDIO POWER BOOSTER,320W,E | 5882.8048
CN106353 | SPB-320E-B | AUDIO POWER BOOSTER,320W,E,BLK | 5882.8048
CN109900 | SP4Z-A/B | SP40S SPKR SPLITTER,4 ZONE CLASS B OR 2 ZONE CLASS A | 422.6298
CN109907 | SPMB4Z | SPB AUDIO BOOSTER SPLITER MOUNTING BRACKET | 111.4636
CN108996 | SPRM | SP40S REMOTE BLK MICROPHONE,RED PLATE | 497.4161
CN109932 | SPRM-B | SP40S REMOTE BLK MICROPHONE,BLK PLATE | 497.4161
CN109927 | SPRM-GP | SPB 80/4,SPB 160,SPB 320 GEN PAGING BLK MIC,BLK PLT | 497.4161
CN109919 | SP4-RMX | SP4 MICROPHONE EXPANSION MODULE,BLK | 715.2302
CN109920 | SP4-APS | SP4 ADDRESSABLE PAGING SPLITTER | 731.4896
CN109921 | SP4-TZC | SP 4 ADDRESSAGE ZONE CONTROLER | 1150.8585
CN109923 | TZC-USB | SP4 TZC PROGRAMMING CABLE | 48.7667
CN109926 | SP-SVC | SAFEPATH SUPERVISED VOLUME CONTROL | 232.4589
CN124121 | SP4-LOC-FB | LOCAL OPERATOR CONSOLE,FLUSH MOUNT | 2584.5685
CN124120 | SP4-LOC-SB | LOCAL OPERATOR CONSOLE,SURFACE MOUNT | 2584.5685
CN124122 | SP4-LOC-KIT | SP 4 LOC HVAC EMERGENCY CUTOFF KIT | 438.8892
CN105498 | NACIM | NOTIFICATION APPLIANCE CIRCUIT INTERFACE MODULE | 130.0408
CN105076 | EOLK | END OF LINE RESISTOR KIT(8 EOL’S), UL LISTED | 149.9454
CN105077 | EOLK-EM | END OF LINE RESISTOR KIT(32 EOL’S), UL LISTED | 470.038
CN106334 | LEMD-M | LED ILLUMINATED EMERGENCY TEXT MESSAGE DISPLAY, UL 48 LISTED FOR UFC COMPLIANCE | 452.0561
Replacement Boards available for SAFEPATH Products.
Please contact Wheelock Tech Support for additional information.
CN105850 | SPX40S | SAFEPATH SP40S REPLACEMENT MOTHER BOARD | 1617.767
CN119910 | SPBX-160 | SAFEPATH SPB 160 REPLACEMENT MOTHER BOARD | 1679.0776
CN119911 | SPBX-80/4 | SAFEPATH SPB 80/4 REPLACEMENT MOTHER BOARD | 1679.0776
CN115851 | SPBPS-X | POWER SUPPLY BOARD,SPB160 OR SPB 80/4 | 1007.4443
STH CLUSTER SPEAKERS W/STROBE - DATA SHEET #S9003
CN108155 | STH-2MS-R | SPKR/STR CLUSTER,2 STH 15 SR,1 DC MAX C,STEEL,RD | 1096.6069
CN108157 | STH-4MS-R | SPKR/STR CLUSTER,4 STH 15 SR,1 DC MAX C,STEEL,RD | 1673.0709
CN100101 | STH-2G | SPKR CLUSTER,2 STH 15 SR,STEEL ENCLOSURE,GRAY | 864.696
CN109752 | STH-2R | SPKR CLUSTER,2 STH 15 SR,STEEL ENCLOSURE,RD | 864.696
CN109753 | STH-3R | SPKR CLUSTER,3 STH 15 SR,STEEL ENCLOSURE,RD | 1159.5541
CN108186 | STH-4R | SPKR CLUSTER,4 STH 15 SR,STEEL ENCLOSURE,RD | 1441.1601
CN103143 | STH-2R24MCCH-FR | SPKR/STR CLUST,2 STH 15 SR,RSS 24MCCH,FIRE,RD | 1274.8469
CN103146 | STH-2R24MCCH-NR | SPKR/STR CLUST,2 STH 15 SR,RSS 24MCCH,NO LTR,RD | 1274.8469
CN103145 | STH-3R24MCCH-FR | SPKR/STR CLUST,3 STH 15 SR,RSS 24MCCH,FIRE,RD | 1457.7251
CN103144 | STH-3R24MCCH-NR | SPKR/STR CLUST,3 STH 15 SR,RSS 24MCCH,NO LTR,RD | 1457.7251
CN103090 | STH-4R24MCCH-FR | SPKR/STR CLUST,4 STH 15 SR,RSS 24MCCH,FIRE,RD | 1639.9408
CN100235 | STH-4R24MCCH-FW | SPKR/STR CLUST,4 STH 15 SR,RSS 24MCCH,FIRE,WHT | 1639.9408
CN103089 | STH-4R24MCCH-NR | SPKR/STR CLUST,4 STH 15 SR,RSS 24MCCH,NO LTR,RD | 1639.9408
CN100239 | STH-4R24MCCH-NW | SPKR/STR CLUST,4 STH 15 SR,RSS 24MCCH,NO LTR,WHT | 1639.9408
PUSH STATIONS - DATA SHEET #V2004
CN109967-XXX | NPS-R | PUSH STATION,RED | 155.7443
CN109968-XXX | NPS-G | PUSH STATION,GREEN | 155.7443
CN109969-XXX | NPS-Y | PUSH STATION,YELLOW | 155.7443
CN109970-XXX | NPS-W | PUSH STATION,WHITE | 155.7443
CN109971-XXX | NPS-B | PUSH STATION,BLUE | 155.7443
CN100523 | NPS-NO | PUSH STATION,NORMALLY OPEN CONTACT | 22.9101
CN100524 | NPS-NC | PUSH STATION,NORMALLY CLOSED CONTACT | 22.9101
SAFEPATH BATTERIES
CN105414 | BATC-R | BATTERY CABINET,RD | 511.4338
CN105413 | BATC-B | BATTERY CABINET,BLK | 511.4338
CN107390 | BAT-1212 | BATTERY,12 VOLT/12 AMPERE HOUR(AH) | 173.9956
CN107391 | BAT-1224 | BATTERY,12 VOLT/24 AMPERE HOUR (AH) | 292.3063
CN107392 | BAT-1265 | BATTERY 12 VOLT/65 AMPERE HOUR(AH) | 958.1677
SPEAKERS: CEILING & WALL MOUNT
CN104114 | ST-C8 | 8" SPKR,RND GRILL,CEIL,25/70V TR,4W MULTI TAP,WHT | 46.4027
CN108474 | ST-C8M | 8" SPKR,RND MTL,CEIL,25/70V TR,4W MULTI TAP,WHT | 46.4027
CN104871 | ST-C8V | 8" SPKR,RND,CEIL,25/70v,4W MULTI TAP,VOL CTRL,WHT | 64.9637
HORN SPEAKERS
CN105147 | STH-15-B | HORN/SPKR, ADJ MOUNTING, WTHPRF,25/70/100V,15W,BEIGE | 151.7962
CN105148 | STH-30 | HORN/SPKR,ADJ MOUNTING,WTHPRF,25/70/100V,30W BEIGE | 169.8671
SELF-AMPLIFIED HORNS
CN105145 | SA-H5-B | SELF AMPLIFIED HORN,24VDC,5W,VOLUME CONTROL,BEIGE | 347.4349
CN105146 | SA-H15-B | SELF AMPLIFIED HORN,24VDC, 15W,VOLUME CONTROL,BEIGE | 360.5457
VOLUME CONTROLS
CN105159 | VC-10 | VOLUME CONTROL,10W,25V/70V,SINGLE GANG PLATE | 53.131
SPEAKER MOUNTING ACCESSORIES
CN103314 | CBB-8 | BACKBOX,8" SPEAKER,RND,WHT | 34.7108
CN103380 | SSB-4 | TILE BRIDGE,4" SPEAKER SUPPORT | 24.6938
CN103573 | SSB-8 | TILE BRIDGE,8" SPEAKER SUPPORT | 17.8571