## Sheet1
Product Category | Part Number | Description | List Price | Manufacturer
ROOM CONTROLLERS | SC2300E5045 | RELPK SE73/83 MIXED-V 220/240V | 202 | VICONICS
ROOM CONTROLLERS | SC3300E5045 | Fan Coil Unit Relay Pack: 3 Fan Outputs | 155 | VICONICS
ROOM CONTROLLERS | SC3500E5045 | Fan Coil Unit Relay Pack: 5 Relay Outputs | 209 | VICONICS
ROOM CONTROLLERS | SE8350U5B00P | RH ZIGBEE PIR LOW VOL SILVER | 1147 | VICONICS
ROOM CONTROLLERS | SE8350U5B11P | RH ZIGBEE PIR LOW VOL WHITE | 1147 | VICONICS
ROOM CONTROLLERS | SE8650U5B00P | RH ZIGBEE PIR HP RT SILVER | 1147 | VICONICS
ROOM CONTROLLERS | SE8650U5B11P | RH ZIGBEE PIR HP RT WHITE | 1147 | VICONICS
ROOM CONTROLLERS | SER8350A5B00P | RH ZIGBEE PIR LINE VOL SILVER | 868 | VICONICS
ROOM CONTROLLERS | SER8350A5B11P | RH ZIGBEE PIR LINE VOL WHITE | 868 | VICONICS
ROOM CONTROLLERS | VC1300E5000 | Relay Pack for Mixed-voltage FCU: 110 to 130 VAC 50/60 Hz, 3 on/off, SE7300 and SE8300 models | 231 | VICONICS
ROOM CONTROLLERS | VC2300E5000 | Relay Pack for Mixed-voltage FCU: 220 to 240 VAC 50/60 Hz, 3 on/off, SE7300 and SE8300 models | 202 | VICONICS
ROOM CONTROLLERS | VC3300E5000 | Fan Coil Unit Relay Pack: 3 Fan Outputs | 155 | VICONICS
ROOM CONTROLLERS | VC3404E5000 | Fan Coil Unit Relay Pack: 4 Relay Outputs, 1 Smart Occupancy Output | 273 | VICONICS
ROOM CONTROLLERS | VC3500E5000 | Fan Coil Unit Relay Pack: 5 Relay Outputs | 212 | VICONICS
ROOM CONTROLLERS | VC3504E5000 | Fan Coil Unit Relay Pack: 5 Relay Outputs, 4 Input | 273 | VICONICS
ROOM CONTROLLERS | VCM7000V5000W | WIRELESS COMM CARD - VT7000 | 319 | VICONICS
ROOM CONTROLLERS | VCM7300T5000B | COM MODULE BACNET VTR73 | 187 | VICONICS
ROOM CONTROLLERS | VCM7300T5045E | LON COMM CARD - SE7200/SE7300 | 479 | VICONICS
ROOM CONTROLLERS | VCM7300V5000B | BACnet Communication Card for SE7200 & SE7300. | 187 | VICONICS
ROOM CONTROLLERS | VCM7300V5000E | LonWorks Communication Card for SE7200 & SE7300. | 276 | VICONICS
ROOM CONTROLLERS | VCM7600V5000B | BACnet Communication Card for SE7600. | 187 | VICONICS
ROOM CONTROLLERS | VCM7600V5000E | LonWorks Communication Card for SE7600, Viconics Logo | 276 | VICONICS
ROOM CONTROLLERS | VCM7607V5000B | BACnet Communication Card for SE76x7 (With Humidity). | 187 | VICONICS
ROOM CONTROLLERS | VCM7607V5000E | LonWorks Communication Card for SE76x7 (With Humidity). | 276 | VICONICS
ROOM CONTROLLERS | VCM8000V5000P | COMMUNICATION MODULE ZIGBEE PRO VT8000 - Enables all VT8000 to integrate to MPM/SSL | 206 | VICONICS
ROOM CONTROLLERS | VCM8000V5045P | COMMUNICATION MODULE ZIGBEE PRO SE8000 - Enables all SE8000 to integrate to MPM/SSL | 206 | VICONICS
ROOM CONTROLLERS | VCM8000V5094P | WIRELESS ZIGBEE PRO COM CARD | 262 | VICONICS
ROOM CONTROLLERS | VCM8001V5045 | CO2 SENSOR MODULE FOR SE8000 | 447 | VICONICS
ROOM CONTROLLERS | VT7200C5031 | Stand-alone (Network Ready) Zone Controller: 2 On/Off or Floating Outputs, Standard Cover (PIR Ready). | 268 | VICONICS
ROOM CONTROLLERS | VT7200C5031B | BACnet Zone Controller: 2 On/Off or Floating Outputs, Standard Cover (PIR Ready). | 450 | VICONICS
ROOM CONTROLLERS | VT7200C5531B | BACnet Zone Controller: 2 On/Off or Floating Outputs, PIR Cover Installed. | 647 | VICONICS
ROOM CONTROLLERS | VT7200C5531E | LonWorks Zone Controller: 2 On/Off or Floating Outputs, PIR Cover Installed. | 722 | VICONICS
ROOM CONTROLLERS | VT7200C5531P | ZC ZP 1H/1C PIR ONOFF COMM | 739 | VICONICS
ROOM CONTROLLERS | VT7200C5531W | ZigBee Wireless Zone Controller: 2 On/Off or Floating Outputs, PIR Cover Installed. | 739 | VICONICS
ROOM CONTROLLERS | VT7200F5031 | Stand-alone (Network Ready) Zone Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready). | 312 | VICONICS
ROOM CONTROLLERS | VT7200F5031B | BACnet Zone Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready). | 525 | VICONICS
ROOM CONTROLLERS | VT7200F5531B | BACnet Zone Controller: 2 Analog 0-10V Outputs PIR Cover Installed. | 720 | VICONICS
ROOM CONTROLLERS | VT7200F5531E | LonWorks Zone Controller :2 Analog 0-10V Outputs, PIR Cover Installed. | 811 | VICONICS
ROOM CONTROLLERS | VT7200F5531W | ZigBee Wireless Zone Controller: 2 Analog 0-10V Outputs, PIR Cover Installed. | 828 | VICONICS
ROOM CONTROLLERS | VT7350C5031 | Stand-alone (Network Ready) Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, Standard Cover (PIR Ready), Commercial Interface. | 357 | VICONICS
ROOM CONTROLLERS | VT7350C5031B | BACnet Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, Standard Cover (PIR Ready), Commercial Interface. | 602 | VICONICS
ROOM CONTROLLERS | VT7350C5531B | BACnet Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Commercial Interface. | 796 | VICONICS
ROOM CONTROLLERS | VT7350C5531E | LonWorks Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Commercial Interface | 900 | VICONICS
ROOM CONTROLLERS | VT7350C5531W | ZigBee Wireless Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Commercial Interface. | 920 | VICONICS
ROOM CONTROLLERS | VT7350F5031 | Stand-alone (Network Ready) Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, Standard Cover (PIR Ready), Commercial Interface. | 379 | VICONICS
ROOM CONTROLLERS | VT7350F5031B | BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, Standard Cover (PIR Ready), Commercial Interface. | 637 | VICONICS
ROOM CONTROLLERS | VT7350F5531B | BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Commercial Interface. | 831 | VICONICS
ROOM CONTROLLERS | VT7350F5531E | LonWorks Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Commercial Interface. | 941 | VICONICS
ROOM CONTROLLERS | VT7350F5531W | ZigBee Wireless Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Commercial Interface. | 962 | VICONICS
ROOM CONTROLLERS | VT7355C5031 | Stand-alone (Network Ready) Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, Standard Cover (PIR Ready), Lodging/Hotel Interface | 357 | VICONICS
ROOM CONTROLLERS | VT7355C5031B | BACnet Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, Standard Cover (PIR Ready), Lodging/Hotel Interface. | 602 | VICONICS
ROOM CONTROLLERS | VT7355C5531B | BACnet Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 796 | VICONICS
ROOM CONTROLLERS | VT7355C5531E | LonWorks Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 900 | VICONICS
ROOM CONTROLLERS | VT7355C5531W | ZigBee Wireless Fan Coil Unit Controller: 2 On/Off or Floating Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 920 | VICONICS
ROOM CONTROLLERS | VT7355F5031 | Stand-alone (Network Ready) Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, Standard Cover (PIR Ready), Lodging/Hotel Interface. | 379 | VICONICS
ROOM CONTROLLERS | VT7355F5031B | BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, Standard Cover (PIR Ready), Lodging/Hotel Interface. | 637 | VICONICS
ROOM CONTROLLERS | VT7355F5531B | BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 831 | VICONICS
ROOM CONTROLLERS | VT7355F5531E | LonWorks Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 941 | VICONICS
ROOM CONTROLLERS | VT7355F5531W | ZigBee Wireless Fan Coil Unit Controller: 2 Analog 0-10V Outputs, With Humidity, PIR Cover Installed, Lodging/Hotel Interface. | 962 | VICONICS
ROOM CONTROLLERS | VT7652B5031 | Stand-alone (Network Ready) Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling, Standard Cover (PIR Ready). | 295 | VICONICS
ROOM CONTROLLERS | VT7652B5031B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling, Standard Cover (PIR Ready). | 515 | VICONICS
ROOM CONTROLLERS | VT7652B5531B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 710 | VICONICS
ROOM CONTROLLERS | VT7652B5531E | LonWorks Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 766 | VICONICS
ROOM CONTROLLERS | VT7652B5531W | ZigBee Wireless Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 798 | VICONICS
ROOM CONTROLLERS | VT7652F5031 | Roof Top Unit Controller: Network Ready, with Scheduling, AH/2C | 341 | VICONICS
ROOM CONTROLLERS | VT7652F5031B | Roof Top Unit Controller: BACnet, with Scheduling, AH/2C | 575 | VICONICS
ROOM CONTROLLERS | VT7652F5531B | Roof Top Unit Controller: BACnet, with Scheduling, with PIR Cover, AH/2C | 769 | VICONICS
ROOM CONTROLLERS | VT7652F5531W | Roof Top Unit Controller: Wireless - Zigbee Proprietary, with Scheduling, with PIR Cover, AH/2C | 869 | VICONICS
ROOM CONTROLLERS | VT7652H5031 | Stand-alone (Network Ready) Heat Pump Controller: 3H/2C Multi-Stage, With Local Scheduling, Standard Cover (PIR Ready). | 295 | VICONICS
ROOM CONTROLLERS | VT7652H5031B | BACnet Heat Pump Controller: 3H/2C Multi-Stage, With Local Scheduling, Standard Cover (PIR Ready). | 515 | VICONICS
ROOM CONTROLLERS | VT7652H5531B | BACnet Heat Pump Controller: 3H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 710 | VICONICS
ROOM CONTROLLERS | VT7652H5531E | LonWorks Heat Pump Controller: 3H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 766 | VICONICS
ROOM CONTROLLERS | VT7652H5531W | ZigBee Wireless Heat Pump Controller: 3H/2C Multi-Stage, With Local Scheduling, PIR Cover Installed. | 798 | VICONICS
ROOM CONTROLLERS | VT7652W5031 | Water Source Heat Pump Controller: Network Ready, with Scheduling, 3H/2C | 432 | VICONICS
ROOM CONTROLLERS | VT7652W5031B | Water Source Heat Pump Controller: BACnet, with Scheduling, 3H/2C | 637 | VICONICS
ROOM CONTROLLERS | VT7652W5531B | Water Source Heat Pump Controller: BACnet, with Scheduling, with PIR Cover, 3H/2C | 831 | VICONICS
ROOM CONTROLLERS | VT7652W5531W | Water Source Heat Pump Controller: Wireless - Zigbee Proprietary, with Scheduling, with PIR Cover, 3H/2C | 942 | VICONICS
ROOM CONTROLLERS | VT7656B5031 | Stand-alone (Network Ready) Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Economizer, Standard Cover (PIR Ready). | 341 | VICONICS
ROOM CONTROLLERS | VT7656B5031B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Economizer, Standard Cover (PIR Ready). | 575 | VICONICS
ROOM CONTROLLERS | VT7656B5531B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Economizer, PIR Cover Installed. | 769 | VICONICS
ROOM CONTROLLERS | VT7656B5531E | LonWorks Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Economizer, PIR Cover Installed. | 834 | VICONICS
ROOM CONTROLLERS | VT7656B5531W | ZigBee Wireless Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Economizer, PIR Cover Installed. | 869 | VICONICS
ROOM CONTROLLERS | VT7656E5031 | IAQ Controller: Network Ready, with Economizer, with Scheduling, 2H/2C | 341 | VICONICS
ROOM CONTROLLERS | VT7656E5031B | IAQ Controller: BACnet, with Economizer, with Scheduling, 2H/2C | 575 | VICONICS
ROOM CONTROLLERS | VT7656E5531B | IAQ Controller: BACnet, with Economizer, with Scheduling, with PIR Cover, 2H/2C | 769 | VICONICS
ROOM CONTROLLERS | VT7656E5531W | IAQ Controller: Wireless - Zigbee Proprietary, with Economizer, with Scheduling, with PIR Cover, 2H/2C | 869 | VICONICS
ROOM CONTROLLERS | VT7657B5031 | Stand-alone (Network Ready) Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Humidity, Standard Cover (PIR Ready). | 432 | VICONICS
ROOM CONTROLLERS | VT7657B5031B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Humidity, Standard Cover (PIR Ready). | 637 | VICONICS
ROOM CONTROLLERS | VT7657B5531B | BACnet Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Humidity, PIR Cover Installed. | 831 | VICONICS
ROOM CONTROLLERS | VT7657B5531E | LonWorks Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Humidity, PIR Cover Installed. | 926 | VICONICS
ROOM CONTROLLERS | VT7657B5531W | ZigBee Wireless Roof Top Unit Controller: 2H/2C Multi-Stage, With Local Scheduling & Humidity, PIR Cover Installed. | 942 | VICONICS
ROOM CONTROLLERS | VT8350U5000B | CONTROL LOW VOLTAGE FCU RH BACNET WHITE CASE - Add VCM8000V5000P to integrate to MPM/SSL | 725 | VICONICS
ROOM CONTROLLERS | VT8350U5500B | CONTROL LOW VOLTAGE FCU RH PIR BACNET WHITE CASE - Add VCM8000V5000P to integrate to MPM/SSL | 948 | VICONICS
ROOM CONTROLLERS | VT8350U5500BP | RH ZIGBEE PIR LOW VOL | 1147 | VICONICS
ROOM CONTROLLERS | VT8650U5000B | Roof Top Unit, Heat Pump & Indoor Air Quality Ctrl: BACnet MS/TP, RH sensor & control, No Logo - Add VCM8000V5000P to integrate to MPM/SSL | 725 | VICONICS
ROOM CONTROLLERS | VT8650U5500B | Roof Top Unit, Heat Pump & Indoor Air Quality Ctrl: BACnet MS/TP, RH sensor & control, PIR motion sensor, No Logo - Add VCM8000V5000P to integrate to MPM/SSL | 948 | VICONICS
ROOM CONTROLLERS | VT8650U5500BP | RH ZIGBEE PIR HP RT | 1147 | VICONICS
ROOM CONTROLLERS | VTR7350A5031 | Fan Coil Unit Terminal Equipment Controller: Network Ready, Commercial Interface, with Relative Humidity | 232 | VICONICS
ROOM CONTROLLERS | VTR7350A5031B | Fan Coil Unit Terminal Equipment Controller: BACnet, Commercial Interface, with Relative Humidity | 386 | VICONICS
ROOM CONTROLLERS | VTR7350A5531B | Fan Coil Unit Terminal Equipment Controller: BACnet, Commercial Interface, with Relative Humidity, PIR Cover Installed. | 581 | VICONICS
ROOM CONTROLLERS | VTR7350A5531W | Fan Coil Unit Terminal Equipment Controller: Wireless - Zigbee Proprietary, Commercial Interface, with Relative Humidity, PIR Cover Installed. | 688 | VICONICS
ROOM CONTROLLERS | VTR7355A5031 | Fan Coil Unit Terminal Equipment Controller: Network Ready, Lodging Interface, with Relative Humidity | 232 | VICONICS
ROOM CONTROLLERS | VTR7355A5031B | Fan Coil Unit Terminal Equipment Controller: BACnet, Lodging Interface, with Relative Humidity | 386 | VICONICS
ROOM CONTROLLERS | VTR7355A5531B | Fan Coil Unit Terminal Equipment Controller: BACnet, Lodging Interface, with Relative Humidity, PIR Cover Installed. | 581 | VICONICS
ROOM CONTROLLERS | VTR7355A5531W | Fan Coil Unit Terminal Equipment Controller: Wireless - Zigbee Proprietary, Lodging Interface, with Relative Humidity, PIR Cover Installed. | 688 | VICONICS
ROOM CONTROLLERS | VTR8350A5000B | CTRL TERM EQ FCU RH BN - Add VCM8000V5000P to integrate to MPM/SSL | 446 | VICONICS
ROOM CONTROLLERS | VTR8350A5500B | CTRL TERM EQ FCU RH PIR BN - Add VCM8000V5000P to integrate to MPM/SSL | 668 | VICONICS
ROOM CONTROLLERS | VTR8350A5500BP | RH ZIGBEE PIR LINE VOL | 868 | VICONICS
ROOM CONTROLLERS | VWG-APP-1031 | ZIGBEE WIRELESS COMM BOARD | 1153 | VICONICS
ROOM CONTROLLERS | VZ7260C5031B | Zoning System Controller: BACnet, Floating Output | 449 | VICONICS
ROOM CONTROLLERS | VZ7260C5031W | Zoning System Controller: Wireless - Zigbee Proprietary, Floating Output | 543 | VICONICS
ROOM CONTROLLERS | VZ7260F5031B | Zoning System Controller: BACnet, Analog Output | 524 | VICONICS
ROOM CONTROLLERS | VZ7260F5031W | Zoning System Controller: Wireless - Zigbee Proprietary, Analog Output | 634 | VICONICS
ROOM CONTROLLERS | VZ7656E1031B | ZN SYS CTRL BAC 2H/2C+SCH+ECO | 1086 | VICONICS
ROOM CONTROLLERS | VZ7656E1031W | ZN SYS CTRL WRLS 2H/2C+SCH+ECO | 1274 | VICONICS
ROOM CONTROLLERS | VZ7656F1031B | ZN SYS CTRL BAC 2H/2C+SCH+ECO | 1086 | VICONICS
ROOM CONTROLLERS | VZ7656F1031W | ZN SYS CTRL WRLS 2H/2C+SCH+ECO | 1274 | VICONICS
ROOM CONTROLLERS | VZ7656H1031B | ZN SYS CTRL BAC 3H/2C+SCH+ECO | 995 | VICONICS
ROOM CONTROLLERS | VZ7656H1031W | ZN SYS CTRL WRLS 2H/2C+SCH+ECO | 1168 | VICONICS
ROOM CONTROLLERS | VZ7656R1031B | ZN SYS CTRL BAC 2H/2C+SCH+ECO | 995 | VICONICS
ROOM CONTROLLERS | VZ7656R1031W | ZN SYS CTRL WRLS 2H/2C+SCH+ECO | 1168 | VICONICS
Stats, Sensors and Accessories (Legacy) | 022-0003 | SENSOR PLENUM 4K7 | 80 | VICONICS
Stats, Sensors and Accessories (Legacy) | 022-0114 | SENSOR CHANGEOVER 47K | 107 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-BC-5031 | KIT COVER BLIND VT7000 | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-BC-5045 | KIT COVER BLIND VT7000 | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-FCU-C-5031 | COVER - SE7300 NO LOGO | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-FCU-L-5031 | COVER - SE7300 NO LOGO | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-PIR-FCU-C-5031 | PIR CVRVT7300 COMM NO LOGO | 198 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-RTUHP-5031 | KIT COVER RTU/HP NO LOGO | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | COV-ZN-5031 | KIT COVER ZONING NO LOGO | 32 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-00 | FASCIA SILVER | 33 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-01 | FASCIA WHITE | 33 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-03 | FASCIA GLOSSY TRANSLUCENT WHITE | 33 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-05 | FASCIA LIGHT TAN WOOD | 60 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-06 | FASCIA DARK BROWN WOOD | 60 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-07 | FASCIA DARK BLACK WOOD | 60 | VICONICS
Stats, Sensors and Accessories (Legacy) | FAS-10 | FASCIA BRUSHED STAINLESS STEEL FINISH | 60 | VICONICS
Stats, Sensors and Accessories (Legacy) | R810-621-REV2 | SSR HTSNK R2 600V25A | 194 | VICONICS
Stats, Sensors and Accessories (Legacy) | R810-623-REV2 | SSR HTSNK R2 600V25A 3PH | 391 | VICONICS
Stats, Sensors and Accessories (Legacy) | R810-641-REV2 | SSR HTSNK R2 600V45A | 527 | VICONICS
Stats, Sensors and Accessories (Legacy) | R810-643-REV2 | SSR HTSNK R2 600V45A 3PH | 1005 | VICONICS
Stats, Sensors and Accessories (Legacy) | R810-671-REV2 | SSR HTSNK R2 600V75A | 857 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-621-REV2 | SCR PWR CTR R2 600V25A | 458 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-623-REV2 | SCR PWR CTR R2 600V25A 3PH | 580 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-641-REV2 | SCR PWR CTR R2 600V45A | 757 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-643-REV2 | SCR PWR CTR R2 600V45A 3PH | 1147 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-671-REV2 | SCR PWR CTR R2 600V75A | 1101 | VICONICS
Stats, Sensors and Accessories (Legacy) | R820-PCB-A01 | S/A SCR WITH INPUT SIGN (SMT) | 193 | VICONICS
Stats, Sensors and Accessories (Legacy) | R850V-8 | 8 STEP STAGE CCONTROLLER | 945 | VICONICS
Stats, Sensors and Accessories (Legacy) | R851B-8 | ELECTRIC STEP CONTROLS | 945 | VICONICS
Stats, Sensors and Accessories (Legacy) | R851V-8 | STEP CONTROLLER 8 STAGE AC/DC | 945 | VICONICS
Stats, Sensors and Accessories (Legacy) | S1010D1000 | SENSOR CHANGEOVER 10K | 71 | VICONICS
Stats, Sensors and Accessories (Legacy) | S1010E1000 | CAPSULE TYPE TEMP SENSOR | 72 | VICONICS
Stats, Sensors and Accessories (Legacy) | S2000D1000 | SEN DUCT SP WITH JBOX | 153 | VICONICS
Stats, Sensors and Accessories (Legacy) | S2020E1000 | DUCT MOUNTED SENSOR | 169 | VICONICS
Stats, Sensors and Accessories (Legacy) | S3010W1031 | Temperature Sensor: Room, 10K Ohm Type 2. | 82 | VICONICS
Stats, Sensors and Accessories (Legacy) | VT7225 | TSTAT HT AO PWM DEG C | 245 | VICONICS
Stats, Sensors and Accessories (Legacy) | VH7200A1000 | HSTAT ON/OFF | 471 | VICONICS
Stats, Sensors and Accessories (Legacy) | VH7270F1000 | HSTAT AO | 650 | VICONICS
Stats, Sensors and Accessories (Legacy) | VH7270K1000 | HSTAT AO ON/OFF | 680 | VICONICS
Stats, Sensors and Accessories (Legacy) | VT8000BASEX4 | BASE CONN TSTAT G5 VIC | 179 | VICONICS